## Instructions
Annex 4 Pricing Approach - RFP - KJ61TVET42026 - Networking for Centre of Excellence
Bidder instructions for completion:
1. Complete 'Requirements Costs - Purchase ' tab, ensuring all relevant costs are inserted in the fields highlighted in yellow.
2. Suppliers must list and explain any assumptions and/or exclusions they have made in relation to the costing's provided in the 'Assumptions and Exclusions' tab.
3. Submit this document together with all other mandatory documentation to moiz.khalid@britishcouncil.org.pk / https://tap.tcsapps.com/tap2/#/login-supplier?tenant=BritishCouncil&langCd=en by the Response Deadline, as set out in the Timescales section of the ITT document
Note: All pricing must be provided be in PKR and all the applicable taxes and charges mentioned separately in the given sheet

## Requirements Costs
Pricing Approach 40%
Requirements Costs: Use the table below to insert costs for the requirements within the Specification/Terms of Reference
NETWORK INFRASTRUCTURE
Type | QTY | Per unit cost with Extendable 3 YR Warranty- PKR | Applicable Taxes (Extendable 3 YR Warranty), if any - PKR | Total Cost Extendable 3 YR Warranty including Applicable Taxes- PKR | Description of cost:
NGN Firewall | 2 |  |  |  | Firewall Type Next-Generation Firewall (NGFW) Firewall Throughput≥ 20 Gbps (1518-byte packets) NGFW Throughput ≥ 1.5 Gbps with Firewall, IPS, and Application Control enabled IPS Throughput ≥ 2.5 Gbps Threat Protection Throughput ≥ 1 Gbps IPsec VPN Throughput ≥ 11 Gbps SSL/TLS Inspection Throughput ≥ 1 Gbps Concurrent Sessions ≥ 1.5 million New Sessions per Second ≥ 50,000 SSL-VPN Users (Recommended) ≥ 500 concurrent users Network Interfaces ≥ 12 × 1GbE RJ45 ports, ≥ 4 × 1GbE SFP ports, ≥ 2 × 10GbE SFP+ ports; dedicated management, HA, and DMZ interfaces; USB and Console ports Form Factor 1U rack-mountable appliance IPsec VPN Tunnels ≥ 2,500 site-to-site tunnels Wireless AP Integration Support for ≥ 64 managed access points (controller or tunnel mode) Switch Integration Support for ≥ 24 managed network switches Warranty 03 Years Warranty & Support
Edge/PoE Switch | 29 |  |  |  | ¦ Ports ¦ 48 × 10/100/1000Base-T; 4 × 1G SFP uplinks ¦ ¦ Memory ¦ ≥2GB RAM; ≥1GB Flash ¦ ¦ Performance ¦ ≥100 Gbps switching capacity; ≥76 Mpps forwarding ¦ ¦ Power ¦ AC supply; PoE+ (IEEE 802.3at) support for APs, cameras, panels ¦ ¦ L2/L3 Capacity ¦ ≥4K VLANs; MAC ≥30K; ARP ≥3.5K; FIBv4 ≥8K; FIBv6 ≥3K ¦ ¦ Security ¦ ≥2K ACLs; 802.1X; MAC authentication; Dynamic VLAN/ACL; ARP security; DAI; CPU protection; storm control ¦ ¦ Layer 2 ¦ QinQ, LACP, STP/RSTP/MSTP, LLDP, Jumbo frames ¦ ¦ Layer 3 ¦ IPv4 static routing; RIP v1/v2; OSPF; OSPFv3 ¦ ¦ Multicast / QoS ¦ IGMP v1/v2/v3; PIM-DM/SM; IGMP snooping; traffic classification & shaping; 8 queues/port ¦ ¦ Stacking ¦ Stacking support (min. 4 units or vendor standard) ¦ ¦ Management ¦ CLI; Web (HTTPS); SSH v2; Telnet; SNMP v1/v2/v3; RMON; Telemetry; NETCONF/YANG; NAC integration ¦ ¦ Environmental ¦ -5°C to +50°C; 5–95% RH non-condensing ¦ ¦ Warranty ¦ Minimum 3-year warranty with local authorized support in Pakistan ¦
Distribution Switch | 2 |  |  |  | Ports 24 × 10/100/1000Base-T; 4 × 10G SFP+; 2 dedicated stacking ports Memory ≥2GB RAM; ≥1GB Flash Performance ≥170 Gbps switching capacity; ≥130 Mpps forwarding Power Redundant PSU support (N+1 configuration) L2/L3 Capacity ≥4K VLANs; MAC ≥30K; ARP ≥3.5K; FIBv4 ≥8K; FIBv6 ≥3K Security ≥2K ACLs; 802.1X; MAC authentication; Dynamic VLAN/ACL; ARP security; DAI; CPU protection Layer 2 QinQ, LACP, STP/RSTP/MSTP, ERPS, LLDP, Jumbo frames Layer 3 IPv4 static routing; RIP v1/v2; OSPF; OSPFv3 Multicast / QoS IGMP v1/v2/v3; PIM-DM/SM; traffic classification & shaping; 8 queues/port Stacking Stacking support (min. 4 units or vendor standard) Management CLI; Web (HTTPS); SSH v2; SNMP v1/v2/v3; RMON; Telemetry; NETCONF/YANG; NAC integration Environmental -5°C to +50°C; 5–95% RH non-condensing Warranty Minimum 3-year warranty with local authorized support in Pakistan
WLAN Controller | 2 |  |  |  | Quantity 2 Units AP Capacity Support >50 APs User Capacity ≥4,000 concurrent users Interfaces ≥6 × 1GE RJ45 ports; ≥2 × 10GE SFP+ ports Routing IPv4/IPv6, Static Routes, OSPF, BGP, Policy-Based Routing Security PPSK, 802.1X, MAC Authentication, Integrated Wireless IDS/IPS, Anti-malware protection Redundancy 1+1 or N+1 High Availability; CAPWAP tunnel support Roaming 802.11k/v/r fast roaming support Management Web GUI (HTTPS), CLI, SSH, SNMP v1/v2/v3 Warranty Minimum 3-Year warranty with local authorized support
Wireless AP (Indoor) | 22 |  |  |  | Type Indoor Wi-Fi 6 (802.11ax), Dual-band (2.4GHz & 5GHz) MIMO 2.4GHz: 2x2 MU-MIMO; 5GHz: 4x4 MU-MIMO Aggregate Throughput ≥3 Gbps Ethernet Port ≥1 × 2.5GE uplink port Power PoE+ (IEEE 802.3at/af) and DC power support Bluetooth BLE 5.x support USB 1 × USB port for IoT expansion SSIDs ≥15 SSIDs per radio Client Capacity ≥250 concurrent users Antenna Built-in smart/omni-directional antennas Security WPA2/WPA3-Enterprise, 802.1X, Wireless Intrusion Prevention Roaming 802.11k/v/r, smart roaming & load balancing Traffic Monitoring Application-level traffic statistics (Global/SSID/User level) Management Controller-based and/or cloud management capable Operating Temperature -10°C to +50°C Warranty Minimum 3-Year warranty with local authorized support
Installation, Configuration,Commissioning of the IT hardware along with 3 year onsite maintance with connectivity of 2 hubs and 6 spokes. | 1 |  |  |  | Given there are 2 hubs and 6 spokes, additionally the supplier will be required to prepare and submit network diagrams and configuration documentation for connectivity between the hubs and spokes. This may require site surveys, LAN-WAN network connectivity along with integration with existing Network infrastructure (Servers and LAN) already available on each site, and adequate maintenance of network connectivity. The Supplier may visit these sites at their own cost. Any additional equipment recommended by vendor is subjected for approval from British council.
Subtotal |  |  |  | 0
Justification & Notes:
Project includes 2 Hubs and 6 Spokes requiring network design, site surveys, LAN/WAN integration, testing & commissioning.
Resident Engineer Cost per site per year.
Type / Location | Qty | Optional 1-Year Resident Engineer Cost (PKR) | Applicable Taxes (PKR) | Total Cost Including Taxes (PKR) | Description
Installation at Hub 1 | 1 |  |  |  | day-to-day network administration, monitoring, configuration, troubleshooting, and performance optimization of the deployed network infrastructure
Installation at Hub 1 – Spoke 1.1 | 1 |  |  |  | Same as above
Installation at Hub 1 – Spoke 1.2 | 1 |  |  |  | Same as above
Installation at Hub 1 – Spoke 1.3 | 1 |  |  |  | Same as above
Installation at Hub 1 – Spoke 1.4 | 1 |  |  |  | Same as above
Installation at Hub 2 | 1 |  |  |  | Same as above
Installation at Hub 2 -Spoke 2.1 | 1 |  |  |  | Same as above
Installation at Hub 2- Spoke 2.2 | 1 |  |  |  | Same as above
Subtotal
Misc. IT Equipment
Type | QTY | Per unit cost with Extendable 3 YR Warranty- PKR | Applicable Taxes (Extendable 3 YR Warranty), if any - PKR | Total Cost Extendable 3 YR Warranty including Applicable Taxes- PKR | Description of cost:
3D Printer | 2 |  |  |  | FDM printer, 0.05–0.3 mm layer resolution, Heated bed, Auto-levelling
Desktop CNC Milling Machine | 2 |  |  |  | Mills aluminium, plastic, PCBs; 10,000–25,000 RPM spindle
Arduino Kits | 2 |  |  |  | Includes breadboard, jumper wires, sensors, LEDs, etc.Includes power supply, SD card, case, cables
Soldering Station | 2 |  |  |  | Temp range: 200–480°C, ESD safe, digital control
Digital Multi meter | 2 |  |  |  | Auto-ranging, True RMS, measures V, A, Ω
Power Supply | 2 |  |  |  | 0–30V, 0–5A, Programmable, Digital display
Hand Tools Set | 2 |  |  |  | Includes pliers, screwdrivers, wire cutters
Mini Drill | 2 |  |  |  | Multi-speed, accessory compatible
Safety Gear | 2 |  |  |  | For use with soldering, lasers, mechanical tools
Multifunction Printer | 16 |  |  |  | Functions: Print, Copy, Scan, Fax Print Speed: Up to 40 ppm (A4) Print Resolution: Up to 1200 x 1200 dpi Duplex Printing: Automatic (default) Copy Resolution: Up to 600 x 600 dpi Resolution: Up to 1200 x 1200 dpi (optical) Type: Flatbed + 50-sheet ADF (Duplex Scanning) Fax Resolution: Up to 300 x 300 dpi Fax Memory: Up to 400 pages Processor / Memory: 1200 MHz / 512 MB Monthly Volume: 750–4,000 pg; Max 80,000 pg
Subtotal |  |  |  | 0
Other Costs: Use the table below to insert any other cost associated with the requirements and ongoing operation:
Type | QTY | Per unit cost | Applicable Taxes , if any | Total Cost including Applicable Taxes | Description of cost:
| 0 | 0 |  | 0
| 0 | 0 |  | 0
| 0 | 0 |  | 0
Add additional rows as required
Subtotal |  |  |  |  | 0
Overall Price - PKR | 0

## Assumptions and Exclusions
Assumptions and Exclusions
Suppliers must list and explain any assumptions and/or exclusions they have made in relation to the costing's provided in the rows below
| Title / brief description | Description / Detail
1 | All rates to be quoted in PKR
2 | All charges are exclsuive of applicable taxes, please enlist applicable taxes
3 | Add additional rows as required