## Instructions
Annex 3 Pricing Approach - RFP for PAKISTAN SPOKE AT D.I. KHAN, KPK. SA53TVET122025
[Guidance Note: This Annex should include information and/or a template in relation to the content and format of any commercial aspects of a tender response to be submitted. It should be completed alongside the Specification/Terms fo Reference section of the tender document taking account of the further guidance provided as part of that section and to ensure a consistent approach with other parts of the tender documentation. All parts of this template can be amended to better suit the requirement (i.e. worksheets can be added / deleted as required). All guidance notes in RED must be deleted from all tabes or changed before issuing the document as part of procurement]
[Guidance Note: The below instructions are a worked example that can be provided to bidders for completion of their commercial proposal. The instructions must be clear and correctly reference each worksheet that they are required to complete]
[Guidance Note: If any tabs are deleted, instructions should also be amended. If using the T&S tab please ensure expenses are amended to local office rates.]
Bidder instructions for completion:
1. Complete 'Requirements Costs' tab, ensuring all relevant costs are inserted in the fields highlighted in yellow.
2. Complete 'Rate Card and Resources' tab ensuring all relevant costs are inserted in the fields highlighted in yellow.
3. British Council travel and subsistence rates can be found in the tab 'Travel & Subsistence'. If the supplier is unable to comply with the specified rates, please indicate this and provide your reasons in the cell marked Supplier Comments.
4. Submit this document together with all other mandatory documentation to British Council’s e-Tendering portal hosted at https://tap.tcsapps.com/tap2/#/login-supplier by the Response Deadline, as set out in the Timescales section of the RFP/ITT document
Note: All pricing must be provided be in [£ GBP] and must exclude VAT or Local Taxes. British Council will assume VAT or Local Taxes is payable at the prevailing [UK] rate in addition to the quoted prices.
Revision: Route 1 and 2 - Pricing Approach Feb2025

## Costs Summary
Pricing Approach [50%]
[Guidance Note: Amend the below tables and/or format (as required) ensuring an appropriate breakdown of costs has been factored in to enable objective marking of all bidder responses. If requirement costs are not applicable to the tender, then this worksheet can be deleted.]
[Guidance Note: Ensure as far as possible that the value calculated is the whole life cost of the contract by adding years as appropriate. Add in indicative quantities with historical data to support this calculation and outline quantity of good/services required. Change the Overall Price equation to reflect requirements and ensure the equation is correct. If you require price list items for inclusion in the contract, but not as part of the whole line costs, put a new table below the Overall Price table.]
[Guidance Note: To ensure like for like quotes, all suppliers MUST give a value for all types in the first table. If there is another mechanism to be used ensure the supplier knows how the Overall Price will be determined within this sheet and it aligns to infomation provided in the ITT.]
Requirements Costs: Use the table below to insert costs for the requirements within the Specification/Terms of Reference
Dated: 13th December, 2025
S.No | DESCRIPTION |  |  | TOTAL AMOUNT PKR | AMOUNT GBP
1 | CIVIL & I.D WORKS |  |  | 0 | 0
TOTAL OF CIVIL & I.D WORKS |  |  |  | 0 | 0
S.No | DESCRIPTION | SUPPLY AMOUNT PKR | SERVICES AMOUNT PKR | TOTAL AMOUNT PKR | AMOUNT GBP
2 | ELECTRICAL WORKS
A | BASIC ELECTRICAL REQUIREMENTS | 0 | 0 | 0 | 0
B | BASIC ELECTRICAL MATERIAL & METHODS | 0 | 0 | 0 | 0
C | WIRING & RACEWAY | 0 | 0 | 0 | 0
D | WIRING ACCESSORIES | 0 | 0 | 0 | 0
E | LIGHT FIXTURES | 0 | 0 | 0 | 0
F | SWITCHGEAR | 0 | 0 | 0 | 0
G | EARTHING SYSTEM | 0 | 0 | 0 | 0
H | STRUCTURED CABLING SYSTEM | 0 | 0 | 0 | 0
I | MISCELLANEOUS ITEMS | 0 | 0 | 0 | 0
J | STANDALONE FIRE ALARM SYSTEM | 0 | 0 | 0 | 0
K | SOLAR SYSTEM | 0 | 0 | 0 | 0
L | C.C.T.V. SYSTEM (IP) | 0 | 0 | 0 | 0
M | PUBLIC ADDRESS SYSTEM | 0 | 0 | 0 | 0
TOTAL OF ELECTRICAL WORKS |  | 0 | 0 | 0 | 0
S.No | DESCRIPTION | SUPPLY AMOUNT PKR | SERVICES AMOUNT PKR | TOTAL AMOUNT PKR | AMOUNT GBP
3 | HVAC WORKS
A | Section 01: Supply, Installation of HVAC Equipment | 0 | 0 | 0 | 0
B | Section 02: Supply, Installation & Testing of Piping & Cabling Works | 0 | 0 | 0 | 0
C | Section 03: Supply, Installation of Fire Extinguishers | 0 | 0 | 0 | 0
D | Section 04: Miscellaneous Works | 0 | 0 | 0 | 0
TOTAL OF PLUMBING WORKS |  | 0 | 0 | 0 | 0
S.No | DESCRIPTION | SUPPLY AMOUNT PKR | SERVICES AMOUNT PKR | TOTAL AMOUNT PKR | AMOUNT GBP
4 | Other Costs: Use the table below to insert any other cost associated with the requirements and ongoing operation:
A | Electricity cost consumption for Construction phase |  |  | 0 | 0
B | Water cost Consumption for construction phase |  |  | 0 | 0
Add additional rows as required
TOTAL OF OTHER COSTS |  | 0 | 0 | 0 | 0
|  |  |  | TOTAL AMOUNT PKR | AMOUNT GBP
SUB-TOTAL OF 1 TO 4 (Inclusive WHT Only) |  |  |  | 0 | 0
KPRA 15% SALES TAX VALUE |  |  |  | 0 | 0
GRAND TOTAL AMOUNT (Inclusive WHT & SST) |  |  |  | 0 | 0
CONVERSION RATE 1 £ GBP RATE TO PKR |  |  |  | 347
GRAND TOTAL AMOUNT IN £ GBP (Inclusive WHT & SST) |  |  |  | 0

## Civil & I.D B.O.Q -D.I. Khan
BILL OF QUANTITIES
I.D & CIVIL WORKS
BRITISH COUNCIL
PAKISTAN SPOKE AT D.I. KHAN, KPK.
Dated: 13th December, 2025
S.No | Description | Qty | Unit | Rate | Amount in PKR | Amount in £
1 | FLOORING (Ref Dwg : ID - 04) Wastage to be Incorporated in Rates all Flooring Items.
1.1 | PVC (VINYL) TILE FLOORING
Providing and Fixing of PVC Vinyl Floor Armstrong USA (Simpurity Series) 2.0mm Thick of Approved Vendor PAK CARPET INDUSTRIES with base price upto PKR. 350/- per Sft + 18% GST + PKR 50/- per Sft Supply & Installation, Total Rate 465/- per Sft. Including Pasting adhesive, as per drawing and directed by the architect etc with all Material & Labor complete in all respect. (Base Prices & Availibility to be confirmed by the contractor from Vendor)
Computer Lab & Class Room
i | Over all Area of Floor | 150 | Sqm |  | 0 | 0
ii | Thick Self Levelling @ Rs.105/- per Sft + 18% GST Per Sft. | 150 | Sqm |  | 0 | 0
1.2 | PVC (VINYL) TILE FLOOR SKIRTING
Providing and Fixing 4" High Skirting of PVC Vinyl Floor Armstrong USA (Simpurity Series) 2.0mm Thick of Approved Vendor PAK CARPET INDUSTRIES with base price upto PKR. 350/- per Sft + 18% GST + PKR 50/- per Sft Supply & Installation, Total Rate 465/- per Sft. Including Pasting adhesive, as per drawing and directed by the architect etc with all Material & Labor complete in all respect. (Base Prices & Availibility to be confirmed by the contractor from Vendor)
Computer Lab & Class Room
| Over All running Length | 70 | Rm |  | 0 | 0
2 | FALSE CEILINGS (Ref Dwg : ID - 05 & 0A)
2.1 | 2' x 2' SMART ECHO SHEILD PERFORATED GYPSUM BOARD FALSE CEILING.
Providing and fixing suspended ceiling using ½" thk. tappered edge smart echo sheild perforated gypsum board 2' x 2' sheets and as shown on drawing including G.I. hanging system for tying with Hard slab attachment, trim clips and trimming and any extra hangers as required, Disco T Framing to be used both ways, Flush gap all around walls & columns including making provision for light fixtures, etc. as per detail/ drawing, Standard Specification and as directed by the Architect.. (United Brand) Note: To provide more strength to ceiling, the spacing of G.I channels of frame to be more close both ways
i | Ceiling At Lev + 2743mm including Vertical Bulkheads & Pelmets | 140 | Sqm |  | 0 | 0
INTERNAL ELEVATIONS
3 | ELEVATION - 01 (Ref Dwg: ID-101)
3.1 | LED TV Installation taken in Electrical Part | 2 | Nos
3.2 | OAK WOOD POLISH FINISH FRAME.
Providing, making and fixing in position 1" x 1½" (25mm x 38mm) thk. A Quality Seasoned Solid Oak Wood polish finished Frame with Lacquer polish as per approved Color / Shade with top coat of ICI / Jotun hardener including all nescessary filling & rubbing. Complete in all respects and conforming to the requirements of drawings, and to the entire satisfaction of the Project consultant. (Inclusive Polish Work)
i | Over All = 10.5 Rm in perimeter x 2 Nos Class Room & Computer Lab | 21 | Rm |  | 0 | 0
3.3 | PROJECTED MDF PAINT FINISH BACK PANEL WITH PARTAL WOOD FRAMING.
Providing making and fixing projected MDF cladding over wall upto levels given in drawing using solignum treated partal wood framing with ½” thk. MDF board to be fixed in Panels with vertical grooves on single side of frame, inclusive of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing with all material & labour complete in all respect as shown in drawing and directed by the Architect. (Inclusive Paint Work)
i | 3800mm x 1275mm x 02 Nos | 10 | Sqm |  | 0 | 0
3.4 | SUPER GLOSS LAMINATE WRITEABLE PROJECTED CLADDING.
Providing and Fixing Projected Super Gloss MDF lamiate Panels of Al-Noor Laminates with PVC Lipping all around, Panel to be fixed / pasted over back cladding, with all material & labour complete in all respect. (Laminate shade to be approved by the Client/Architect)
i | 1692mm 1111mm x 02 Nos | 4 | Sqm |  | 0 | 0
3.5 | PROJECTED MDF PAINT FINISH CLADDING WITH PARTAL WOOD FRAMING.
Providing making and fixing projected MDF cladding over wall upto levels given in drawing using solignum treated partal wood framing with ½” thk. MDF board to be fixed in Panels with vertical grooves on single side of frame, inclusive of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing with all material & labour complete in all respect as shown in drawing and directed by the Architect. (Inclusive Paint Work)
i | 5000mm x 2750mm x 01 Nos (Lab Only) | 14 | Sqm |  | 0 | 0
4 | ELEVATION - 02 (Ref Dwg: ID-102)
4.1 | FABRIC WITH FOAM PADDING OVER SOFT BOARD PANELS OVER WALLS & PARTITION.
Providing, Making & Fixing Fabric over Soft Board Panels, Sizes & Shapes of panels as shown in drawing & directed by the Architect, with all material & labour complete in all respect. Fabric Base Price @ 1600 per meter
Computer Lab
i | 2439mm x 1350mm x 2 x 2 Rooms | 14 | Sqm |  | 0 | 0
ii | 200mm Radius 400mm Dia | 4 | Nos |  | 0 | 0
iii | 400mm Radius 800mm Dia | 4 | Nos |  | 0 | 0
5 | ELEVATION - 03 (Ref Dwg: ID-103)
STORY BOARD
5.1 | 45MM PROJECTED CEMENT BOARD PANELS OVER WALL.
Providing making and fixing 45mm projected Cement board paint finish Panels fixed over Wall, Panel with 12mm thk. Cement board on single side of G.I metal frame as per size and section required with all material & labour complete in all respect as shown in drawing and directed by the Architect. (Shera Thailand Sheet)
Computer Lab & Class Room
i | 1200mm W x 1500mm H | 2 | No |  | 0 | 0
ii | 900mm W x 675mm H | 2 | No |  | 0 | 0
iii | 600mm W x 1200mm H | 2 | No |  | 0 | 0
5.2 | 6MM THK ACRLYLIC SHEET PASTED OVER PROJECTED CEMENT BOARD PANELS.
Providing making and fixing 6mm thk approved Shade & Color Acrylic sheet pasted / fixed over projected Cement board Panels taken above for Client provided Branding matter, with all material & labour complete in all respect as shown in drawing and directed by the Architect.
Computer Lab & Class Room
i | 1200mm W x 1500mm H | 2 | No |  | 0 | 0
ii | 900mm W x 675mm H | 2 | No |  | 0 | 0
iii | 600mm W x 1200mm H | 2 | No |  | 0 | 0
5.3 | PRINTED VINYL SELF STICK ON
Providing making and fixing Vinyl with high perforamance self stick-on adhesive pasted over above taken acrylic sheet with Printing of Client Provided Matter, detail as shown in drawing, with all material & labour complete in all respect as per drawing and directed by the Architect.
Computer Lab & Class Room
i | 1200mm W x 1500mm H | 2 | No |  | 0 | 0
ii | 900mm W x 675mm H | 2 | No |  | 0 | 0
iii | 600mm W x 1200mm H | 2 | No |  | 0 | 0
5.4 | 5MM THK ACRLYLIC SHEET U SHAPED BROCHURE HOLDER.
Providing making and fixing 5mm thk approved Shade & Color Acrylic sheet U Shaped Brochure Holder 900mm Long with 100mm Back with approved shade paint 50mm internal depth & 50mm Front Collar, Fixed over wall with all material & labour complete in all respect as shown in drawing and directed by the Architect.
i | Reception | 4 | Nos |  | Rate Only
6 | Detail - 03 SIGNAGES (Ref Dwg : GD - 03)
6.1 | 12MM ACRYLIC BACK PAINTED FONTS.
Providing making and fixing 12mm thk Back Painted Approved Colour Acrylic cut out Fonts 150mm High approx to be finalized as per site proportion heights with 12mm Groove on Back detail as shown in drawing, with all material & labour complete in all respect as per drawing and directed by the Architect.
i | Approx Size : 150mm High PAKISTAN SPOKE D.I. KHAN as per approved Font (As per propotion) | 20 | Nos |  | Rate Only
7 | Detail - 04 SIGNAGES (Ref Dwg : GD - 04)
7.1 | 12MM ACRYLIC BACK PAINTED FONTS.
Providing making and fixing 12mm thk Back Painted Approved Colour Acrylic cut out Fonts 400mm High approx to be finalized as per site proportion heights with 12mm Groove on Back detail as shown in drawing, with all material & labour complete in all respect as per drawing and directed by the Architect.
i | Approx Size : 400mm High Welcome as per approved Font (As per propotion) | 7 | Nos |  | Rate Only
ii | Approx Size : 400mm High خوش آمدید as per approved Font (As per propotion) | 8 | Nos |  | Rate Only
8 | WINDOWS
8.1 | MANUAL ROLL-UP BLINDS DARK OUT FABRIC AS APPROVED.
Providing & Installation Manually operated roll-up blinds using Dark out fabric with Powder coated mechanism from Approved Vendor of approved quality & shade @ Base Price Rs. 325/- + GST per sft, pulling rope direction to be decided as per furniture and easy access, Samples to be approved by Architect with all material & labour complete in all respect. (Final sizes to be taken on order as per Mullions center to center divisions as per site)
Computer Lab & Class Room
i | Window Size = 6'-0" x 6'-6" (1800mm x 1950mm) Blind Size = 7'-0" x 7'-6" (2100mm x 2250mm) x 8 Nos | 39 | Sqm |  | 0 | 0
9 | GENERAL ITEMS
9.1 | PAINT WORK
Providing and applying matt finish internal paint of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing with corborendum stone, filling with putty/filler and finish the surface in 3 coats etc.with all material, scaffolding & labour complete in all respect as per drawing and directed by the Architect.
i | False Ceiling (Plastic Emulsion) ( Included with Items)
ii | Gypsum & Cement Board Partition & Claddings (Water based Matt Enamel) ( Included with Items )
iii | Masonry Walls - Internal & External Side | 250 | Sqm |  | 0 | 0
9.2 | REPAIRING & MAINTENANCE OF EXISTING WINDOWS.
Repairing & Maintenance of Existing Aluminum Windows with providing & fixing new Hardware as wheels, Locks & Gas Kits all necessary items as required and directed by the Project Manager on Site & by the Architect, Complate with all material & labour complete in all respect.
Computer Lab & Class Room
i | Window Size = 6'-0" x 6'-6" (1800mm x 1950mm) x 8 Nos | 8 | Nos |  | 0 | 0
9.3 | REPAIRING & MAINTENANCE OF EXISTING DOORS FRAME WITH NEW DOOR PANEL WITH APPROVED PAINT & 8MM TEMPERED GLASS FIX PANEL ABOVE DOOR.
Repairing & Maintenance of Existing Doors Frames with providing & fixing New Door Panel including all Hardware as Hinges, Locks & Door Closer, Scraping of Existing Paint from Door Frame & Applying 3 Coats of Approved Shade Oil Based Matt Enamel Paint all over Door Frame & New Door Panel & 8mm Tempered Glass Fix Panel Above Door wooden Frame all Around with all necessary items as required and directed by the Project Manager on Site & by the Architect, Complate with all material & labour complete in all respect.
Computer Lab & Class Room
i | Door Size = 3'-6" x 9'-0" (1050mm x 27000mm) | 4 | Nos |  | 0 | 0
GENERAL NOTES:
i | Over All Base Prices mentioned to be re-confirmed by the contrator from vendor before quoting in Tender.
ii | All Wood & MDF to be treated with water Fire resistant coating Agent to be applies on all six sides. (Fire & Flame retardant Protective Caoting FRC 10/60 / FRX 10/65 By Vender Zahabiya) Note: Specification and instruction for the application of the above material to be strictly followed.
iii | MDF board should be 12mm thk in ("ZRK" EUROPEAN STANDARDS (E1) BOARD EMISSION ) and free of fumes.
iv | Cement board should be 12mm thk in (SHERA BRAND THAILAND).
v | All Wood to be Clear Solignum treated & Anti termite prooofing
vi | All Plastered Wall, Partitions, Bulkheads, Claddings works are inclusive of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing with all material & labour complete in all respect. Where ever mentioned in Drawing. Rates to be incorporated with items
vii | Consider all Gypsum Boards of United Brand 12mm Thickness Moisture Resistant.
viii | Anit fungus paint should be used as a primer for paints on walls etc.
ix | All MS Work is inclusive of Spray Paint Works
x | Scaffolding where ever required with Material & labour to be provided by the Contractor as in for Internal & External Paint, Tiling, Ceiling and over all internal & external works.
xi | All quantities are as per drawing actual measurements that will be verified on Final Bill, Wastage to be incorporated in rates.
TOTAL AMOUNT IN PKR (Including WHT Only) |  |  |  |  | 0 | 0
KPRA 15% SALES TAX VALUE |  |  |  |  | 0 | 0
TOTAL AMOUNT (Inclusive WHT & SST) |  |  |  |  | 0 | 0
1 £ GBP RATE TO PKR |  |  |  |  | 347
TOTAL AMOUNT IN £ GBP (Inclusive WHT & SST) |  |  |  |  | 0

## Elect Pricing Instructions
BRITISH COUNCIL SPOKES |  | Bill of Quantity Rev_01
D.I. KHAN |  | Electrical Works
PRICING PREAMBLES
a) | This Contract Document, consisting of Tender Specifications, Bill of Quantities and Tender Drawings are the property of Electrical Consultant and shall be returned on the date of Tender submission even if the Contractor choses not to participate in the Tender. Any reproduction or transmission of this Contract document without prior explicit approval of A.A. Techno Engineers is illegal and may be subject to legal action.
b) | All pages of the BoQ and specifications shall be signed and stamped by the authorized representative of the Contractor. Only the signed and stamped copy of the BoQ shall be entertained and considered part of the Contract. A soft copy of the BoQ shall be provided to facilitate the process of costing. Any change in the BoQ text from the original shall be deemed as breech of contract and liable for penalty.
c) | All items shall to be executed as per specifications, drawings, and as directed by the Consultant/Engineer, and shall confirm to the latest edition of the IEEE wiring regulations. Contractor shall test relevant installation to be witnessed by Electrical Consultant and or Client representative and provide all relevant test reports.
d) | Samples of all items including but not limited to shop drawings for DB's, raceways, back boxes, outlets for switch sockets and voice/data, cables etc., shall to be got approved by the Consultant / Engineer prior to installation.
e) | Any item not meintioned herein but necessary for the completion of works to the satisfaction of the owner/client shall be deemed to be part of the appropriate electrical works. Details of such works shall be submitted for Consultant/Engineer's approval before start of work.
f) | All works related to active IT equipment, including but not limited to provision of PRI, ISDN, POTS lines, installation and configuration of routers/switches etc., inter office /WAN connectivity, internet / remote / radio link etc. are not covered under the scope of this contract, unless specifically stated in the BoQ.
g) | NoC for all electrical works shall shall be obtained from relavant authorities before project handing over. Costs for obtaining approvals shall be quoted separately.
h) | Quotations shall be based on the approved equipment list / supplier. Deviations, if any, shall have to be got approved prior to installation works. Any discrepancy found shall be rectified / replaced at the cost of the contractor.
i) | Any conflict between the wiring standards and instructions as per drawings, specifications or Consultant instructions shall be immediately brought to the notice of the Consultant for appropriate consideration.
j) | Vendor's recommendation, if different from that specified in BoQ/Specifications shall be submitted for review and approval prior to equipment purchase.
k) | Contractor cost shall be inclusive of all applicable Govt. taxes.
l) | This BoQ is indicative of the item requirements and approximate quantieies. Final cost of contract shall be determined upon verification of items and respective quantities installed on site. No price escalation or quantity variations shall be entertained. Contractor shall carefully review all drawings and develop his own quantity sheet and indicate any missing items in the designated section of the BoQ with all relevant details.
m) | All items quoted for aginst this Contract shall be new and of latest make /model. Any outdated, obsolete or end-of-life products shall be replaced with alternate models from the same manufacturer and gotten approved from the Client or his representative (Architect, Consultant) during the bidding process. The Client or his representative shall have the right to ask for replaceent of any item, with similar or better specification, which is found faulty or substandard or is a subject of discrepancy not clarified during the bidding process.
n) | In case of discrepancy between any BoQ item, Drawings or Specifications, it is the responsibility of the Contractor to bring it to the notice of the Engineer who shall be the sole autority to clarify the discrepancy, issue any resolution.
o) | BoQ shall be read in conjuction with all applicable / relevant specifications and drawings. In case of any ambiguity between the BoQ, specifications and drawings, the same is to be brought in the notice of the client / clients engineer who shall be the sole authority for conflict resolution
p) | All supply and installation items shall include delivery of equipment on site which may comprise of delivery on floor other than ground floor.
q) | Quantities mentioned in the BoQ are approximate and may vary by +/- 15%. This variation will not affect the rates quoted by the prospective bidder
r) | Items with N/A mentioned against supply rates is to be considered as Owner Provided. Items for which rates are being solicted only have been labelled as N/A in the composite amount column
s) | Contractor shall be responsible for getting all running and final bills (as required) verified from the Consultant. Cost of bill verification exercise, as well as any inspection visit including land / air travel (economy class), boarding lodging etc. shall be borne by the respective Contractor. Contractor shall also be response for re-imbursing the Consultant per diem charges @ Rs. 1,000/- per hour (or Rs. 12,000/- per day)

## Elect Summary
BRITISH COUNCIL SPOKES
D.I. KHAN
Dated: 13 December, 2025
S.No | DESCRIPTION | SUPPLY AMOUNT PKR | SERVICES AMOUNT PKR | TOTAL AMOUNT PKR | AMOUNT GBP
2 | ELECTRICAL WORKS
A | BASIC ELECTRICAL REQUIREMENTS | 0 | 0 | 0 | 0
B | BASIC ELECTRICAL MATERIAL & METHODS | 0 | 0 | 0 | 0
C | WIRING & RACEWAY | 0 | 0 | 0 | 0
D | WIRING ACCESSORIES | 0 | 0 | 0 | 0
E | LIGHT FIXTURES | 0 | 0 | 0 | 0
F | SWITCHGEAR | 0 | 0 | 0 | 0
G | EARTHING SYSTEM | 0 | 0 | 0 | 0
H | STRUCTURED CABLING SYSTEM | 0 | 0 | 0 | 0
I | MISCELLANEOUS ITEMS | 0 | 0 | 0 | 0
J | STANDALONE FIRE ALARM SYSTEM | 0 | 0 | 0 | 0
K | SOLAR SYSTEM | 0 | 0 | 0 | 0
L | C.C.T.V. SYSTEM (IP) | 0 | 0 | 0 | 0
M | PUBLIC ADDRESS SYSTEM | 0 | 0 | 0 | 0
TOTAL OF ELECTRICAL WORKS |  | 0 | 0 | 0 | 0

## Elect B.O.Q
BRITISH COUNCIL SPOKES
D.I. KHAN
Dated: 13 December, 2025
Item No. | Description | Qty | Unit | Supply |  | Services |  | Composite
|  |  |  | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Rate (Rs.) | Amount (Rs.) | Amount GBP (£)
Notes:
a) See pricing preambles / General Instructions.
b) Contractor shall be resposible for managing all statutory regulations such as submission of WCR, Electrical Inspector Approval etc. (Refer BoQ Section A)
c) All items shall be provided with minimum 2 years warranty. Incase of default warranty of 1 year, 2 year extended warranty shall be specified in a separate line item in the relevant section of BoQ (if specified / required)
d) No AutoCAD design drawing shall be provided to the contractor who shall be responsible for engaging the services of a qualified and technical competent electrical engineer to prepare shop drawings, technical documentation and liaise with the Consultant
e) Contractor shall submit and get approved the (shop and interiam /final as-built) drawings on hard copy format prior to submission of final copies in soft and hard copy formats
f) Contractor shall keep under consideration payment mode of British Council. 20% amount shall be with-held from each bill, 10% of which shall be released on project handover. Remaining 10% shall be released after 1 year of project handover (end of Defect & Liability Period)
| g) PKR - GBP Conversion Rate | [8 empty] | 347
A | BASIC ELECTRICAL REQUIREMENTS
Particular Notes:
a) See pricing preambles / General Instructions.
b) Contractor shall submit and get approved the (shop and interiam /final as-built) drawings on hard copy format prior to submission of final copies in soft and hard copy formats
1 | Development and submission of As-built Drawings in AutoCAD format on non-erasible media(CD-R /DVD-R) and two hard copies (tracing+white paper) on appropriate paper size. Note: This item does not relieve the contractor from submission of shop drawings for Distribution Boards, Low Current Systems etc.) | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
2 | Dismatlling of existing electrical installation at BC site including cleaning and proper stacking of all dismantled items for hand over to client for further disposal / re-use as per client discretion. Dismantling shall include light fixtures, Communication and other ELV Cables, general wiring and power cables etc. | 1 | Job |  | Rate Only |  | 0 | 0 | 0 | 0
3 | Mandatory: Obtaining NoC / Approval from Electric Inspector (D.I region) for the facility excluding Standby Power Generation System (official inspection charges/fee will be paid by the client on production of demand note etc on behalf of the client) | 1 | Job |  | Rate Only |  | Rate Only | 0 | Rate Only | Rate Only
4 | Providing and connecting up of temporary electricity lighting and power cabling (1 to 2 distribution points), including temporary main and sub distribution boards, site vide LED lighting and power cabling between main and sub distribution boards, complete in all respect. Contractor shall also be responsible for removal of all such equipment when no longer required on site | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Basic Electrical Requirements: |  |  |  | 0 |  | 0 |  | 0 | 0
B | BASIC ELECTRICAL MATERIAL & METHODS
Particular Notes:
a) See pricing preambles / General Instructions.
b) Separate back boxes shall be used for Emergency / UPS circuits for normal light / power wiring
c) Wiring shall be done with appropriate color codes as per latest edition of IEEE wiring regulations
d) Wiring Accessories shall be based on Clipsal C-Vivace series (white)
1 | Providing and fixing of following point wiring with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC (cream color for clean / isolated earth) in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good and all accessories, 10A gang switch, fan dimmer, 2 way switch, bell push, ceiling rose, sheet steel back-box with earth terminal, fan hook, connectors etc.,1.0mmsq 3-core flexible PVC/PVC cord upto fixture, etc., for;
a) | DB / UPS-DB / LCP to switch / relay / dimmer (including wiring between switching units on same circuit) with 3Cx2.5mmsq conductors | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Light / exhaust / fan point to switch with 3Cx1.5mmsq conductors | 14 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
c) | Same as item 1c above, but light point, from point to point | 22 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
d) | Fixture to fixture with 3C x 1.0mmsq flexible conductors | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
e) | Non switched emergency light point wiring from DB to 1st light point with 3 core 1.5sqmm PH 60 fire retardant cable in appropriate size PVC conduit | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
f) | Same as item 1(e) above, but light point, from point to point. | 7 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
2 | Providing and fixing of switch socket-outlet point wiring with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC (cream color for clean / isolated earth) in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, sheet steel back-box with earth terminal, connectors etc., and all accessories, as follows:
a) | From DB to 5A/13A Round / Universal switch socket outlet point with 2x2.5mmsq conductors and 2.5mmsq CPC | 6 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Same as (a) above but, point to point with 2x2.5mmsq conductors and 2.5mmsq CPC | 20 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
c) | Same as (a) but adjacent outlet with 2x1.5mmsq conductors + 1.5mmsq CPC | 6 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
d) | From DB to 13A flat pin (simplex / duplex) / switch socket outlet point with 2x4 mmsq conductors + 4 mmsq isolated earth. | 6 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
e) | Same as item (d) but, point to point with 2x2.5mmsq conductors and 2.5mmsq CPC | 20 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
f) | DB to 15A round pin switch socket outlet point with 2x4mmsq conductors + 4mmsq CPC | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
g) | Same as above but adjacent outlet with 2x2.5mmsq conductors + 2.5mmsq CPC | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
h) | DB to 15 / 20A spur outlet point with 2x4.0mmsq conductors and 4.0mmsq CPC (hand dryer and insect killer) | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
3 | Providing and fixing of 20 amp isolator wiring for AC / ventilation fans/ Water Heater, including wiring between isolator and indoor unit with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC, in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, sheet steel back-box with earth terminal for isolator and all mounting accessories, as follows:
a) | From DB to 20A SPN isolator point with 3Cx4.0mmsq conductors | 6 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
4 | Providing and fixing of wiring for UPS / Data Center Rack power, with PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC, in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, sheet steel back-box with earth terminal for isolator and all mounting accessories, as follows:
a) | From DB / CDB to isloator / industrial socket outlet point with 3Cx4.0mmsq conductors [rack power) [Optional] | 1 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Electrical Material and Methods: |  |  |  | 0 |  | 0 |  | 0 | 0
C | WIRING & RACEWAY
Particular Notes:
a) See pricing preambles / General Instructions.
Note: Cost of ceiling suspended conduits, pipes, cable tray etc. even if not explicitely stated shall be inclusive of threaded rods, nuts washer, steel base plate etc
WIRING (LV)
1 | Supply, laying, connecting up and testing of non armoured / armoured cable 600/1000 V grade, in already laid raceway, including all fixing, jointing & termination accessories, designation labels at both ends etc., in the following sizes (Actual length of cable shall be measured at site by the contractor before placing the order with the manufacturer, however approximate length of cable are shown herewith)
a) | 4C x 16mmsq Cu/PVC/PVC (LSZH) | 20 | Mtrs. |  | 0 |  | 0 | 0 | 0 | 0
2 | Supply, laying, connecting up and testing of PVC insulated 450/750V grade cable, in already laid raceway including all fixing, jointing & termination accessories, designation labels at both ends etc., in the following sizes: (Actual length of cable shall be measured at site by the contractor before placing the order with the manufacturer, however approximate length of cable are shown herewith)
a) | 1C x 16mmsq PVC (Earthing Cable) | 20 | Mtrs. |  | 0 |  | 0 | 0 | 0 | 0
RACEWAY
3 | Supply, laying and installation of following PVC / GI / MS pipe to be recessed in walls / floors or clipped to surface, as required at site and as shown on the drawing including accessories steel pull wires, complete in all respect;
a) | 60mmx60mm PVC channel (Adamjee Dura Duct or equivalent) | 5 | Mtrs. |  | 0 |  | 0 | 0 | 0 | 0
b) | 150mm dia (class B) | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
c) | 50mm dia (class B) | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
d) | 25mm dia flexible GI pipe | 10 | Mtrs. |  | 0 |  | 0 | 0 | 0 | 0
CABLE TRAY / TRUNKING / LADDER
4 | Supply, laying and installation of following 12 SWG, GI / double enamel painted / HDGAF, perforated, sheet steel cable trays complete with all installation accessories including angle iron support of size 1-1/2"x1-1/2"x1/8", GI threaded rod of 1/2" dia, nuts, bolts etc., complete in all respect in the following sizes;
a) | 300mmx75mm (GI + enamel painted), with cover | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
b) | 150mmx75mm (GI + enamel painted), with cover | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
5 | Supply, laying and installation of following 16 SWG, GI / enamle painted / HDGAF, non - perforated, sheet steel cable trunking complete with all installation accessories including GI slotted C-Channel base support of size 1-1/2"x1-1/2"x1/8", GI threaded rod of 1/2" dia, nuts, bolts etc., complete in all respect in the following sizes:
a) | 300mmx50mm (multi compartment) with cover | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
b) | 150/200mmx50mm (multi compartment) with cover | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
| Total Cost of Wiring and Raceways: |  |  |  | 0 |  | 0 |  | 0 | 0
D | WIRING ACCESSORIES
Particular Notes:
a) See pricing preambles / General Instructions.
b) Cost of industrial sockets shall be of complete set (male + female)
c) Wiring Accessories shall be based on Clipsal C-Vivace series (white)
1 | Providing and fixing following rating 250/500 volt switch socket outlet and all mounting accessories
a) | 3 pin, 13 Amp, 250 volt universal switch socket outlet | 32 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | 3 pin, 13 Amp, flat pin, 250 volt switch socket outlet | 26 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
c) | 3 pin, 13 Amp, flat pin, 250 volt duplex switch socket outlet | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
d) | 3 pin, 15 Amp, 250 volt switch socket outlet | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
e) | 20 Amp, 250 volt, spur outlet for hand drier / insect killer | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
f) | 16 Amp, SPN+E industrial socket outlet (surface, flanged type) male - female set | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
g) | 20A, 250V, double pole isolator switch with neon indication (AC, air curtain, water heater, etc.) | 6 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
2 | Providing and fixing following rating SP&N 250 / TP&N 500 volts weather proof load break switches / isolator, including whether proof sheet steel enclosure and all mounting accessories
a) | 20A, 250V, SP&N | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
b) | 20A, 500V, TP&N | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
3 | Providing and fixing following type 250 volts ceiling suspended, false ceiling mounted fan / exhaust fan, including all mounting accessories
a) | 56" dia ceiling suspended fan | 0 | No. |  | Rate Only |  | Rate Only | 0 | Rate Only | Rate Only
b) | 2'x2' false celing fan | 12 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
4 | Providing and fixing following type pull boxes in 16swg sheet steel with cover and knockouts for cable entry, including all mounting accessories etc. complete in all respect
b) | 12"x12" ceiling mount PVC pull box | 0 | Nos. |  | Rate Only |  | Rate Only | 0 | 0 | 0
c) | 6"x6" surface mount PVC pull box (for long wiring length] | 0 | Nos. |  | Rate Only |  | Rate Only | 0 | 0 | 0
5 | Providing and fixing floor boxes (Davis / Clopal / MK type) with hinged cover and provision for outlets (A, B, C types etc.)/ floor boxes, without socket outlets but including all mounting accessories etc. complete in all respect.
a) | 4 outlet floor box | 0 | Nos. |  | Rate Only |  | Rate Only | 0 | 0 | 0
6 | Providing and fixing 16SWG (powder painted) sheet steel furniture boxes (technology box) with cover and provision for outlets (A, B, C types etc.)/ floor boxes, without socket outlets but including all mounting accessories etc. complete in all respect. Note: Electrical Coontractor to co-ordinate with furniture vendor to confirm if furniture boxes part of furniture supply. In this case this item shall stand deleted | [8 empty] | 0
a) | Type - A | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Type - C | 26 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Wiring Accessories |  |  |  | 0 |  | 0 |  | 0 | 0
E | LIGHT FIXTURES
Particular Notes:
a) See pricing preambles / General Instructions.
b) LED Flat panel lights shall be inclusive of false ceiling frame
c) All lamps shall be warm white (4000K) unless otherwise stated or instructed by Architect / Consultant
d) Ballast shall be of electronic type as indicated
e) All light fixtures including emergency and exit lights shall be LED type
f) All light fixtures shall be rated at minimum 35000 opterating hours
1 | Providing and Fixing of following light fixtures as per fixture schedule or equivalent light fixture as approved by consultant installed on surface or on false ceiling or pendant mounted, with all accessories such as lamps, lamp holders, ballast, starters, capacitors, LED drivers as applicable, etc. and all relevant installation material as approved by the Engineer, complete in all respect
a) | Fixture type "H": Ceiling / Recessed type LED panel light 2' x 2' fixture including 43W LED lamp (warm white) | 24 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Fixture type 'D': Reccesd / False ceiling mounting rechargable battery-operated (3hrs) non-maintainted type Emergency LED light (refer Menvier type) | 4 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
c) | Fixture type 'E': Reccesd/False ceiling mounting rechargable battery-operated (3hrs) maintainted type Emergency exit LED light | 4 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Light Fixtures: |  |  |  | 0 |  | 0 |  | 0 | 0
F | SWITCHGEAR
Particular Notes:
a) See pricing preambles / General Instructions.
b) Short-circuit ratings to IEC 947-2, Icu/Ics at 400V
c) All components (ELCBs, Contactors etc.) are to be provided with backup protection
d) DBs of incoming size 100A or less may be provided with cascading
e) Vendor shall be responsible for getting the DB's verified by consultant / 3rd party prior to dispatch to site. Cost of factory inspection including air travel, lodging, per diem charges shall be borne by the contractor
1 | Supply, installing, testing & commissioning of following distribution boards ( made of 16 SWG sheet steel ) with hinged doors and locks, including bus bars of tin plated copper conductor for phases, neutral and ground, of short circuit rating as mentioned below and all TP MCCBs shall also have minimum ultimate interrupting capacities (Icu) as mentioned in the drawings or more ( All circuit breakers will be having co-ordination and selectivity properties for this system ) , with proper brass glands for incoming cables. All DBs are Flush / surface Mounted type and of suitable dimensions to fit-in the location / space shown on drawings. The contarctor shall take the dimensions of the site, prepare the shop drawing of DB / Panel and approval from the Consultant before manufacturing) and with following configuration (Maximum current density of each Phase, Neutral and Earth bus bar shall not be more than 1.5 Amp per sq. mm & arrangement / connections of bus bar will be as required. All of the MCBs & MCCBs will be having thermal as well as magnetic short circuit releases).
a) | DBLP+CDB [D.I Khan] | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Switchgear: |  |  |  | 0 |  | 0 |  | 0 | 0
G | EARTHING SYSTEM
Particular Notes:
a) See pricing preambles / General Instructions.
b) All earth pits shall be individually tested for value <=1 Ohm.
1 | Provding, fixing, testing and commisioning of following earth pits with earth leads in 50mm dia perforated PVC pipe up to and including 6"x1"x1/4" Cu earth test point, CC inspection chamber, charcoal lime mixture / green earth chemical, all accessories, light duty uPVC Cover etc. Note: Multiple earthing or machine boring for adequate depth shall be considered to ensure earth resistance value does not exceed 1 ohm.
a) | Rod type earthing with 19/20mm dia copper clad steel electrode, 3 m long, connected with 2x16mmsq stranded bare copper conductors from earth rod to earth test point in pit | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
2 | Provding, fixing and commisioning of earth test point at various locations, including isolators, nuts bolts washers and all mounting accessories with green colored heat shrink sleeves , as follows;
a) | Providing and fixing of tinned copper earth bar 8” long, 1” wide and ½” thick. | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
3 | Equipotential bonding of all DB's racks, UPS, etc with 1C x 4 sqmm Cu/PVC cable connected to nearest earth test point including lugs, washers bolts etc. complete in all respect. Cable already covered in other section. Only services to be considered | 0 | Job |  | Rate Only |  | Rate Only | 0 | 0 | 0
| Total Cost of Earthing System: |  |  |  | 0 |  | 0 |  | 0 | 0
H | STRUCTURED CABLING SYSTEM
Particular Notes:
a) See pricing preambles / General Instructions.
b) All components, materials and equipment shall meet or exceed the relevant Category requirements of EIA/TIA Standard 568A/B
c) Contractor shall coordinate and follow recommendations of Voice / Data equipment supplier
DATA CABLING SYSTEM
1 | Providing and fixing of following type of wiring with 4 pair CAT6 UTP cable in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, including termination at both ends, sheet steel back-box etc. and all accessories etc. complete in all respect as follows:
a) | Cat6 UTP LSZH UTP cable (plenum rated) from Data Patch Panel to Cat6 RJ45 outlet (23 AWG) | 38 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Cat6 UTP LSZH UTP cable (plenum rated) from Data Patch Panel to existing IT room of school (23 AWG) | 15 | Mtrs. |  | 0 |  | 0 | 0 | 0 | 0
2 | Supply and installation of following (imported, Velocity, Contech, Toten,Taiwan etc.) 19" Data Rack will all mounting accessories etc. (50% of the cabinet space shall be kept empty to install active networking hardware).
a) | 9U Data Rack (600mmx600mm) with glass front door including 1 Fan tray, 1 fixed tray | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
3 | Supply, installation and connecting up of following type Cat6 multiport (RJ45) jack patch panels including sleeve type labelling and all mounting accessories etc. complete in all respect
b) | Cat6, 24 Port (fully loaded ports) Patch Panel, including rear cable mangement | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
b) | Front Cable Management | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
4 | Providing and fixing of following type shuttered communication outlet including face plate matching with adjecnt switch socket outlet with sleeve type labelling, identification tags and all accessories etc. complete in all respect.
a) | Single Port, Cat6 UTP RJ45 outlet | 30 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | Dual Port, Cat6 UTP RJ45 outlet | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
5 | Providing and connecting up of factory made Cat6 patch cords (non-plenum) with RJ45/RJ45 plugs as follows;
b) | 1.0 m long | 26 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
6 | Providing and connecting up of factory made Cat6 drop cords (non-plenum) with RJ45/RJ45 plugs as follows;
a) | 3.0 m long | 10 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
7 | Supply, installation and connecting up of folowing Rack mount PDU strip
b) | Non metered 4/5 way PDU strip | 1 | No. |  | 0 |  | 0 | 0 | 0 | 0
8 | Testing and Commissioning, including labelling of Data / Voice network and providing owner/consultant witnessed fluke test report (two copies, bounded) etc. complete in all respect. | 1 | Job. |  | 0 |  | 0 | 0 | 0 | 0
FIBER OPTIC / INFRASTRUCTURE NETWORK
9 | Providing, laying and connecting up of following type of fiber optic cable in already laid raceway including termination at both ends, and all accessories etc. complete in all respect as follows;
a) | 6 strand 9/125um OS-1 semi armoured single mode fiber optic cable from ISP to IT Rack | 0 | Mtr. |  | Rate Only |  | Rate Only | 0 | 0 | 0
10 | Supply, installation and connecting up of following type multiport fiber optic patch panels including labelling and all mounting accessories etc. complete in all respect
a) | 6 Port FO Patch Panel, including mangement tray | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
b) | 12 Port FO Patch Panel, including mangement tray | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
11 | Providing, fixing and connecting up of following type fiber optic connectors with pigtails, including splicing labelling and all mounting accessories etc. complete in all respect
a) | Singlemode 1 mtr. SC Pigtail | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
12 | Supply and connecting up of following type of fiber optic patch cords
a) | Simplex SC - LC (or as applicable) 1 mtr. Fiber Patch Cord | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
13 | Testing and Commissioning, including labelling of entire fiber optic network and providing owner/consultant witnessed OTDR test report (two copies, bounded) etc. complete in all respect. | 0 | Job. |  | Rate Only |  | Rate Only | 0 | Rate Only | Rate Only
| Total Cost of Structure Cabling: |  |  |  | 0 |  | 0 |  | 0 | 0
I | MISCELLANEOUS ITEMS
Particular Notes:
a) See pricing preambles / General Instructions.
1 | Providing, fixing and connecting up of following type outlets (Clipsal / MK type) installed in wall, partition, in already laid floor boxes, etc. including all mounting accessories etc. complete in all respect,
a) | HDMI outlets with appropriate plugs/connectors | 2 | Nos. |  | Rate Only |  | Rate Only | 0 | Rate Only | Rate Only
2 | Providing, fixing, configuring and testing of following sizes television with RJ-45, HDMI, RG-6 (RF), USB and RCA input, including mounting brackets etc. complete in all respect
a) | 55" LED TV (4K, smart TV) [Samsung Series 7 or approved brand | 4 | Nos. |  | OFM |  | 0 | 0 | 0 | 0
3 | Providing, laying and fixing following cables laid in appropriate size conduit in raceway including all mounting accessories etc. complete in all respect,
a) | HDMI cables with appropriate plugs/connectors from wall mount screen/TV to floor box (+/- 25 rft) | 4 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
b) | HDMI cables with appropriate plugs/connectors from wall mount screen/TV to floor box (+/- 40 rft) | 0 | No. |  | Rate Only |  | Rate Only | 0 | 0 | 0
4 | Providing, fixing and connecting up of 25 mtr HDMI over Cat6 range extender (Tx + Rx set with adaptors) including connecting HDMI cables and mounting accessories, from IT Room to TV outlets | 0 | No. |  | Rate Only |  | Rate Only | 0 | Rate Only | Rate Only
5 | Providing, fixing and connecting up of HDMI Splitter (1 in 2 out), including power supply, weather resistant PVC housing and all mounting accessories complete in all respect | 2 | Nos. |  | 0 |  | 0 | 0 | 0 | 0
6 | Coordinating with owner / vendor for Video confrencing system for installation and setting up of existing VC system, inclulding cameras, LCD screens, VC controller, high sensitivity microphone etc, complete in all respect | 0 | No. | 0 | Rate Only |  | Rate Only | 0 | 0 | 0
7 | Coordinating with owner / vendor for Lab broadcasting system setup inclulding cameras, LCD screens, amplifiers, high sensitivity microphone etc, complete in all respect | 1 | No. | 0 | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Miscellaneous items |  |  |  | 0 |  | 0 |  | 0 | 0
J | STANDALONE FIRE ALARM SYSTEM
Particular Notes:
a) See pricing preambles / General Instructions.
1 | Providing, fixing & connecting up of following fire alarm devices with base (with built-in loop isolator), including EOL resisters / Line Isolators, termination and all accessories complete in all respect. |  |  | .
a) | Battery Operated Standalone Smoke Detector with buzzer (>80dB) | 4 | Nos |  | 0 |  | 0 | 0 | 0 | 0
2 | Testing and commissioing of the entire fire alarm system including system certification from Principle and training of owner representative, complete in all respect | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Fire Alarm System: |  |  |  | 0 |  | 0 |  | 0 | 0
K | SOLAR SYSTEM
Particular Notes:
a) See pricing preambles / General Instructions.
1 | Supply, Installation 5KW Hybrid Solar Plant including all mounting accessories etc. complete in all respect for a roof mounted non-elevated installation . Provide complete BOQ of items Installing by Vendor. Acceptable model of inverters (Growatt, Solis, Huawei) , Panels (Jinko, Longi, Trina or any Tier-1, but minimum 600W Panel) and also Suggested Vendors. Quote shall include as a minimum the following components; - Lithium Iron battery pack compatible with the provided inverter, including all communication cables. System should provide a backup time of at least 3 hours at 75% load - All AC DC cables, earthing with cables, input and output AC - DC breakers with housing, AC / DC surge arrestors, connectors, cable raceway etc. complete in all respects for a fully functional system. The inverter shall have a minium replacement warranty of 7 years backed by equipment supplier / principal - Battery pack(s) shall have a minimum warranty of 7 years (unconditional) - Vendor shall arrange for all necessary equipment and manpower for satisfactory installation and operation of the system including instalaltion location preparation. | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
| Solar System: |  |  |  | 0 |  | 0 |  | 0 | 0
L | C.C.T.V. SYSTEM (IP)
Particular Notes:
a) See pricing preambles / General Instructions.
b) Video retention to be min 45 day at 25fps, HDD capacity to be confirgured accordingly
1 | Wiring for CCTV System from camera to recording equipment in Server / Security room with following / manufacturers recommended cable in appropriate size PVC conduit including all accessories etc. complete in all respect.
a) | From IP camera to appropriate floor patch panel in IT Rack (MDF / IDF) with Cat 6 UTP LSZH cable (23 AWG) | 4 | Nos
2 | Providing, fixing and connecting up of following CCTV components Including all mounting and other accessories, complete in all respect. |  |  | Cabling already covered in "Structured Cabling" section
a) | 4 MP (dome type) IP Camera [cameras to be project series and not commercial series) | 4 | Nos |  | 0 |  | 0 | 0 | 0 | 0
3 | Providing, fixing and connecting up of following NVR (raid capable) with components with recording of atleast 30 days for the above mentioned cameras also having frame rate and other specifications as mentioned on the drawing or instructed by the consultant, including system configuration and licenses for 3 concurrent sessions. (2x4TB HDD or higher as per recording requirement)
a) | 16 channel (raid capable) NVR | 1 | No |  | 0 |  | 0 | 0 | 0 | 0
b) | surveillance HDD (4TB) with min. 90 days video retention @ 15fps required, HDD capacity to be appropriate) | 1 | No |  | 0 |  | 0 | 0 | 0 | 0
c) | Rack mount 16 port Gigabit POE Switch | 1 | No |  | 0 |  | 0 | 0 | 0 | 0
d) | 16 channel (raid capable) NVR for remote viewing in Monitoring Room / Guard Room | 0 | No |  | Rate Only |  | Rate Only | 0 | 0 | 0
e) | 4 port Gigabit POE Switch for Monitoring Room / Guard room | 0 | No |  | Rate Only |  | Rate Only | 0 | 0 | 0
f) | Fiber optic media converter Single mode / Cat 6 (Tx and Rx set) | 0 | No |  | Rate Only |  | Rate Only | 0 | 0 | 0
g) | HDMI Cables for connecting NVR and LED TV (Monitor) 25Rft | 0 | Lot |  | Rate Only |  | Rate Only | 0 | 0 | 0
4 | Providing, fixing and connecting up of LED TV in Monitoring room / Guard Room (TCL or approved equivalent) | 0 | No |  | Rate Only |  | Rate Only | 0 | 0 | 0
5 | Testing and Commissioning of CCTV system including training of owner's personnel in the operation and maintenance of the equipment (All operation and maintenance manuals shall be submitted in triplicate). | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of IP C.C.T.V. System: |  |  |  | 0 |  | 0 |  | 0 | 0
M | PUBLIC ADDRESS SYSTEM
Particular Notes:
a) See pricing preambles / General Instructions.
b) PA system shall be compatible with any existing sound system components and Building BMS or I/O Module .
c) Quotation shall be inclusive of all interconnecting wiring between any existing and new equpment.
d) PA shall have capability to be connected to the building FACP / BMS and /or provide appropriate sound / aleart sound for the entire building
e) The sound system shall be gotten checked and verified from the architect/Consultant before installing.
f) 2 complete sets of Manufacturers recommended Operations and Maintenance manuals shall be submitted prior to comissioing of the system
1 | Wiring of background / PA / music system with 3x2.5sq.mm or vendor recommended cable in appropriate size PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, connectors etc., and all accessories, including termination and labelling at both ends, etc., complete in all respect.(Belden speaker cable FR rated or equivalent)
a) | Wiring, fixing and commissioning of owner provided sound system, wiring from amplifier to speakers and microphones complete in all respect | 1 | Job |  | 0 |  | 0 | 0 | 0 | 0
| Total Cost of Public Address System: |  |  |  | 0 |  | 0 |  | 0 | 0

## Elect List of approved Vendors
BRITISH COUNCIL SPOKES
D.I. KHAN
LIST OF APPROVED MANUFACTURERS / SUPPLIERS OF ELECTRICAL EQUIPMENT
* All Equipment shall be procured from Principal Authorized agents / distributors / resellers
The Bidder shall fill name of only one manufacturer for each equipment/material on which the tender is based. He shall be bound to supply the equipment from the same manufacturer. In case, the Bidder gives names of more than one manufacturer against any equipment, the Engineer / Owner can ask the Bidder supply the equipment from any one of them.
At the evaluation stage if it is noted that any material offered by the bidder does not meet the specification requirements, the Engineer / Owner reserves the right to ask the bidder to replace his choice of equipment supplier meeting the required quality and specification requirement.
During the execution stage if the material from any supplier is found defective / substandard the Engineer / Owner reserves the right to ask the successful bidder to replace his choice of manufacturer / supplier for that particular equipment.
Any change in manufacturer / supplier shall only be entertained if there is sufficient reason that adhering to the original choice of manufacturer / supplier shall be detrimental to either the project quality or project timeline. Proper approval shall have to be sought for change in the chosen manufacturer / supplier at least 1 month before the equipment is to be procured.
Samples of all equipments shall have to be got approved prior to their procurement. The bidder has to sign and stamp all pages of this list. Any deviation from the BoQ / Specification shall be listed in a separate sheet to be labeled as Annexure-1 containing the details of the deviation including the deviating BoQ item number. The contractor shall also provide the letter of authenticity.
S.No | Item |  | Manufacturer / Supplier | Country of Origin | Contact Information
(Chosen Vendor to be highlighted by the Bidder)
L.V. Products
- | Low Voltage | : | Taj Engineering | Pakistan
| Switchboards and |  | Babar Brothers | Pakistan
| Distribution Boards |  | Power Engineers | Pakistan
|  |  | South Asian | Pakistan
|  |  | JEI Switchgear | Pakistan
- | Circuit Breakers | : | ABB | Germany
| (ACB, MCCB, ELCB, MCB) |  | Siemens | Germany
|  |  | Schneider Electric | France
or approved equivalent
- | Contactors | : | Schneider Electric | France
|  |  | Fuji | Japan
|  |  | Siemens, ABB | Germany
or approved equivalent
- | Load Break / Changeover / Cam | : | Socomec | France
| Switches (Selector Switches) |  | Kraus & Naimer | Newzeland
|  |  | Breter | Italy
|  |  | Schneider Electric | France
- | Push Buttons / Switches Etc. | : | Schneider Electric | France
|  |  | Maruyasa | Japan
or approved equivalent
- | LV Cables & Wires | : | Pakistan Cables | Pakistan | Faysal | 03333156065
|  |  | Newage Cables | Pakistan | Adnan | 03008230970
|  |  | Fast Cables | Pakistan | Sameen | 03217420061
- | Analog & Digital Meters (Network Type) | : | Autonics | Korea
| (Voltmeter, Ammeter, Energy Analyzers) |  | ABB | Germany
|  |  | Schneider Electric | France
|  |  | Lovato | Italy
or approved equivalent
- | C.T. / P.T. | : | Fico | Pakistan
|  |  | Circutor | Spain
or approved equivalent
- | Relays | : | Finder | Italy
|  |  | Samwha | Korea
|  |  | Emirel | Italy
|  |  | Schneider Electric | France
or approved equivalent
- | Timers (with base) | : | Nias | Japan
|  |  | Samwha | Korea
Fotek
or approved equivalent
- | Cable Glands, Lugs, Terminals, Labelling | : | Cembre | USA
| accessories, etc |  | Hubbell / Hawke | USA | Britlite | 03201214321
or approved equivalent
- | PVC / uPVC Conduits & Accessories | : | Galco | Pakistan
|  |  | Civic | Pakistan
|  |  | Jeddah Polymer | Pakistan
- | G.I. / Steel Conduits & Accessories | : | IIL | Pakistan
|  |  | Steelex | Pakistan
|  |  | Hilal Industrial | Pakistan
or approved equivalent
- | Back Box, Pull Box, Junction Box, Under | : | Ezzi Engineering | Pakistan |  | 03080919053
| Floor box |  | MK | Pakistan
|  |  | Hussain & Co. | Pakistan
|  |  | Electroline | Pakistan
|  |  | Davis / Clipsal | Australia
|  |  | Clopal | China
or approved equivalent
- | Switch & Socket Outlets | : | Clipsal | Australia
|  |  | MK | UK
|  |  | Legrand | UK
|  |  | ABB | Germany
or approved equivalent
- | Fan & Accessories (ceiling, wall, | : | Pak Fan | Pakistan
| pedestral, exhaust) |  | Millat Fan | Pakistan
|  |  | Royal Fan | Pakistan
|  |  | GFC Fan | Pakistan
or approved equivalent
- | Lighting Fixtures | : | Phillips | Pakistan
| (Min. 35000 hrs) |  | Pierlite | Pakistan
|  |  | Britlite | Pakistan
|  |  | Thermec | Pakistan
|  |  | Future Technologies | Pakistan
or approved equivalent
- | Emergency / Exit Lights | : | Bardic (Honeywell) | USA
|  |  | Zman Engineering | Can
|  |  | Menvier (Cooper) | UK
or approved equivalent
- | Ballast, Starters, Lamps | : | Philips | Holland
|  |  | Osram | Germany
|  |  | Schwabe | Germany
or approved equivalent
- | Cable Tray / Trunking | : | Ezzi Engineering | Pakistan
|  |  | Electroline | Pakistan
|  |  | Ashraf Industries | Pakistan
|  |  | Zman Engineering | Pakistan
or approved equivalent
- | Hand Driers | : | Siemens | Germany
|  |  | World Dryer | USA
|  |  | Mitsubishi | Japan
or approved equivalent
- | Insect Killers | : | Insect-o-cutor | UK
|  |  | Moel | Italy
or approved equivalent
- | Power Conditioning Equipment | : | Schneider Electric (APC, MG) | France
| (UPS) |  | General Electric | USA
|  |  | Eaton | USA
|  |  | Emerson / Liebert | UK
- | Power Conditioning Equipment | : | Stavol | Japan
| (Stabilizers, Isolation Transformers) |  | Ortea | Italy
|  |  | Stabimatic | Japan
|  |  | Watford | UK
or approved equivalent
- | Lightning Protection System | : | Furse | UK
|  |  | Erico | USA
|  |  | LPI | Australia
|  |  | Application Technologies | USA
or approved equivalent
- | Bus Rising Mains / Bus Bar System | : | Power Bar | Malaysia
|  |  | Schneider Electric | France / China
or approved equivalent
Low Current Products
- | Data / Voice [23AWG] | : | Schneider Electric | France
| (Communication Cabling) |  | Corning | USA
- | Data Racks | : | Concord | Taiwan
|  |  | Velocity | Taiwan
or approved equivalent
- | Multicore Telephone Cables | : | Schneider Electric | Taiwan
|  |  | Corning | USA
|  |  | Pony | Japan
- | EPABX (Conventional / VOIP) | : | Cisco | USA
|  |  | Avaya | USA
|  |  | Samsung | Korea
|  |  | Panasonic | Japan
Or approved equivalent
- | Telephone Sets (Conventional / VOIP) | : | As per EPABX Vendor
- | Fire Alarm System (Addressable) | : | Zeta | UK
|  |  | Esser by Honeywell | UK
|  |  | Morley (by Honeywell) | UK
- | CCTV System | : | HIK VISION | China
|  |  | Dahua Technologies | China
Or approved equivalent
- | Public Address System | : | Bose | USA
|  |  | Bosch | Singapore
|  |  | ToA | Japan
or approved Equivalent
- | Lighting Control System (KNX) | : | C-Bus (Schneider Electric) | France
| (KNX) |  | S-Bus | USA
|  |  | ABB | Germany
or approved Equivalent
- | Access Control System | : | HID | USA
|  |  | Honeywell | USA
|  |  | Virdi | Taiwan
or approved Equivalent
- | Fiber Optic Cable + Accessories | : | Corning | USA
|  |  | LTE | Pakistan
or approved Equivalent
- | Anti Static Raised Flooring (Cement core) | : | Mero | Germany
|  |  | Concord | Australia
or approved Equivalent
- | CATV System + Coaxial Cable | : | Wisi | Germany
|  |  | Saxton | USA
|  |  | Discovery | USA
|  |  | Corning | USA
or approved Equivalent
Each sheet to be signed and sealed

## Vendors - Contact List
List of Approved Electrical Vendors
BRITISH COUNCIL - D.I. KHAN
LIST OF APPROVED MANUFACTURERS / SUPPLIERS OF ELECTRICAL EQUIPMENT All Equipment shall be procured from Principal Authorized agents / distributors / resellers
S.No. |  | Vendor Firm | Company Address | Contact Information |  |  |  |  | Email
|  |  |  | Name | Designation | Cell | Office | Fax
The Bidder shall fill name of only one manufacturer for each equipment/material on which the tender is based. He shall be bound to supply the equipment from the same manufacturer. In case, the Bidder gives names of more than one manufacturer against any equipment, the Engineer / Owner can ask the Bidder supply the equipment from any one of them.
At the evaluation stage if it is noted that any material offered by the bidder does not meet the specification requirements, the Engineer / Owner reserves the right to ask the bidder to replace his choice of equipment supplier meeting the required quality and specification requirement.
During the execution stage if the material from any supplier is found defective / substandard the Engineer / Owner reserves the right to ask the successful bidder to replace his choice of manufacturer / supplier for that particular equipment.
Any change in manufacturer / supplier shall only be entertained if there is sufficient reason that adhering to the original choice of manufacturer / supplier shall be detrimental to either the project quality or project timeline. Proper approval shall have to be sought for change in the chosen manufacturer / supplier at least 1 month before the equipment is to be procured.
Samples of all equipments shall have to be got approved prior to their procurement. The bidder has to sign and stamp all pages of this list. Any deviation from the BoQ / Specification shall be listed in a separate sheet to be labeled as Annexure-1 containing the details of the deviation including the deviating BoQ item number. The contractor shall also provide the letter of authenticity.
DISCIPLINE - ELECTRICAL (LOW VOLTAGE SYSTEMS)
1 | LV SWITCHGEAR (PANELS & DB's) | Taj Engineering | [Off] B-57 block 2 Gulistan e Johar karachi - 75290 [Factory] Plot LF 34 Landhi Industrial Area Sector 29 | Mr. A Aleem | CEO | 0332 3052660 | 03323052661 |  | aleemtajm@gmail.com
|  |  |  | Mr. Abdullah | Director | 0331 2496291 | (021) 34012199
2 |  | Karimi Electromech | Plot # 8/5-2, Street 5, Sector 12-C North Karachi Industrial Area | Mr. Abid Karim | CEO | 0300 2190595 | (021) 36909873 |  | info@karimisystems.com
|  |  |  | Mr. Saad Khalid | Sales Engr | 0326 9395301 | (021) 36909875 |  | sales@karimisystems.com
3 |  | Premier Engineering Services | 559, Street # 10, Sector D, Rehman Colony, Mehmoodabad, Karachi. | Mr. Ansar | Propreiter | 0300 2017833 | (021) 35898292 | (021) 35898293 | info@premierpk.com
|  |  |  | Mr. Khalid | Mgr. Projects | 0300 2017798
4 |  | HRA Switchgear | Plot # C-9, Sector 6-E, Mehran Town Scheme, Korangi Township, Karachi – Pakistan. | Mr. Saad Sohail | Sales Engr | 0321 2828631 | (021) 35141299 |  | saad.sohail@hra-switchgear.com
[7 empty] | 0322 2003052 |  | info@hra-switchgear.com
5 |  | Bilal Switchgear | 11 KM, Raiwind Road, Lahore Park Stop, Lahore Pakistan | Mr. Usman Ghani |  | 03354999326 | (042) 111191919 |  | info@bilaleng.com
6 |  | Power Engineers | WS-11, Federal-B Area Block-03, Karachi | Mr. Salik | Director | 0321 3818285 | (021) 35898292 |  | salik.mehmood@powerengineers.net
|  |  |  | Mr. Abdul Karim | Director | 0336 2618801
1 | LV CABLES | Pakistan Cables |  | Mr. Faisal Khan |  | 0333 3156065 | (021) 111222537 |  | sales@pakistancables.com
2 |  | Fast Cables | 1402, 14th Floor, Emerald Tower, Clifton Block 5, Karachi | Mr. Ouje Arbab | Sr. Mgr Bus. Dev. | 0335 2143045 | (021) 35147753 |  | oujearbab@fast-cables.com
(021) 35147754
3 |  | Newage Cables |  | Mr. Farhan |  |  | (021) 35837577 |  | ko@newagecables.com.pk
4 |  | Allied Cables |  | Mr. Salman |  | 0321 9211460
5 |  | Universal Cables [Flexible Cables] |  | Mr. Shahab Alam |  | 0345 2873538
1 | FR CABLES | Ramcro, Italy |  | Mr. Salman Khan | Country Mgr. | 0333 3316912 |  |  | salman.khan@tsccgroup.com
2 |  | Britlite Engineering Company [Cavicel, Italy] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Mr. Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net
|  |  |  | Ms. Bushra | Mgr. Project | 0321 2874321 | (021) 35341736 |  | marketing.bis@britlite.net
3 |  | Secure Vision [ERSE, Turkey] | Office # 17, Crown Center, SB-01, Block 13C, Gulshan-e-lqbal, Karachi-75300 | Mr. Ahmed Ali | CEO | 0301 8502042 | (021) 34830466 | (021) 34830450 | sales@securevision.com.pk
|  |  |  | Mr. Waqas Rasheed | Dir. Sales | 0301 8502044
4 |  | Telecom Engineering Co. [Oren, Turkey] | Suit # 101, 1st floor, Sea Breeze Plaza, Sharah-e-faisal, Karachi -75530 | Mr. Asadullah Khan | Man. Partner | 0300 2345755 | (021) 3278 7711 | (021) 32791115 | asad@tec.com.pk
|  |  |  | Mr. Adeel Shah | Mgr. Sales | 0335 3035706 | (021) 3278 7722 |  | adeel@tec.com.pk
1 | UNINTERRUPTIED POWER SUPPLY (UPS) | Greaves Pakistan (Ghulam Faruque Group [Eaton] | Modern Motors House, Beaumont Road, Karachi-75530 | Mr. Aneesur Rehman | Mgr. Product | 0334 3182115 | (021) 111-000-009 |  | information@gfg.com.pk
2 |  | [APC] |  | Mr. Muneeb Khwaja |  | 3008459505
3 |  | {Emerson / Liebert / Vertiv] |  | Mr. Muraz Azhar | Ctry. Mgr | 03054441408
|  |  |  | Mr. Waqas | Sr. Mgr. | 03054441406
5 |  | Britlite Engineering Co [APC] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net info@britlite.net
|  |  |  | Saad Qadeer | Project Engr | 0321 2894200 | (021) 35341736
1 | LIGHT FIXTURES (min. 35,000 hrs.) | Britlite Engineering Products | Plot # 66, 13th Street, Khayaban-e-Badban, DHA Phase 5, Karachi, Pakistan | Mr. Darrel Almeda | CEO | 0321 2035931 | (021) 35341051 |  | faisal.pasha@britliteproducts.com
|  |  |  | Mr. Faisal Pasha | Mgr. Projects | 0321 2964321 | (021) 35341052 |  | lighting.division@britliteproducts.com
2 |  | Future Technologies | 2nd Floor, One IBL Centre, Plot No. 1, Block 7 & 8 DMCHS, Off, Shahrah-e-Faisal Karachi | Mr. Umair | Mgr. Projects | 0321 2944442 | Office Phone | Fax # | Umair.aslam@ft.com.pk
|  |  | Block 7 & 8 DMCHS, Tipu Sultan Road, | Mr. Irfan | National Sales Mgr | 0333 2373939 |  |  | m.irfan@ft.com.pk
3 |  | ST Lighting (NVC) | [Kar] 1st Floor, 112, RSM Square, Block 7-8, K.C.H.S. Shaheed-e-Millat Road, Karachi | Mr. Farooq Siddiqui | Br. Mgr. South | 0326 2144103 | (021) 34550052 | (051) 5419286 | farooq@stespk.com
|  |  |  | Mr. Abdul Hannan | Sales Engr | 0331 2770634 | (021) 34550053 |  | support@stespk.com
4 |  | Coarts lighting | Suite # 611, 6th Floor, The Forum Khayaban-e-Jami, Clifton, Karachi | Shayan Pervez | CEO | 0321 2069958 | 0322 2880031 |  | shayan@coartslighting.com
|  |  |  | Owais Zaidi | Mgr. Sales | 0301 8225728 |  |  | owais.zaidi@coartslighting.com
5 |  | Fast Cables | 1402, 14th Floor, Emerald Tower, Clifton Block 5, Karachi | Mr. Ouje Arbab | Sr. Mgr Bus. Dev. | 0335 2143045 | (021) 35147753 |  | oujearbab@fast-cables.com
(021) 35147754
DISCIPLINE - ELECTRICAL (ELV - EXTRA LOW VOLTAGE SYSTEMS)
1 | Public Address / Sound / Home Theater Systems | SESTEK - Sustainable Engineering Solutions [multiple agencies] | [HO] - Plot 31,32 / 1.5 Marla Commercial Area, Canal City, Multan Road, Lahore | Mr. Abul Hasan | CEO | 0300 4422031
|  |  |  | Mr. Mohsin Ali | Managing Dir | 0333 3999896 |  |  | mohsin.ali@ses-tek.com
2 |  | Synergy Technologies (Pvt) Ltd | F-61/7 Block 4, Clifton, Karachi | Qamar Saeed | Mgr. Projects | 0300 3335161 |  |  | qamar.saeed@synergyav.com
3 |  | Desert Sound [multiple agencies] | 22-C/II, 2nd Zamzama Commercial Lane, Phase V, D.H.A Karachi | Karim Bhorabhoy | CEO |  |  |  | info@desertsound.com.pk
|  |  |  | M. Ali German | Head of Projects | 0345 8253863 | 021-111-570-111
4 |  | Universal Overseas Agency (Pvt) Ltd. [TOA Corporation - Japan] | 9/A Rehman Mansion, Frere Road, Saddar, Karachi 74400 | Mr. Shahid Bawany | CEO | 0323 8226465 | (021) 32723957
|  |  |  | Mr. Irfan | Head of ELV | 0321 2600102 | (021) 32724078 |  | irfan@uoa.com.pk irfan.gis.net@gmail.com
5 |  | Britlite Engineering Company [multiple agencies] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net info@britlite.net
|  |  |  | Saad Qadeer | Project Engr | 0321 2894200 | (021) 35341736
6 |  | Pak Security & Safety Systems [Optimums - Spain] | 20-21 Amber Motel, 51-G Block-6, PECHS, Karachi | Fahad Hasan | CEO | 0335 2233070 | (021) 34528541 |  | fahad@pak-sss.com fdhn123@yahoo.com
[6 empty] | 0322 2234070 | (021) 34546818
7 |  | Kingdom International [Bosch - UK] | 1st floor, 246-E, PECHS, Block-6, Karachi - 75400 | Yashir Hashmi | CEO | 0336 8225515 | (021) 33407185 |  | yasir@kingdom-international.com
1 | Office Automation | SESTEK - Sustainable Engineering Solutions [multiple agencies] | [HO] - Plot 31,32 / 1.5 Marla Commercial Area, Canal City, Multan Road, Lahore | Mr. Abul Hasan | CEO | 0300 4422031
|  |  |  | Mr. Mohsin Ali | Managing Dir | 0333 3999896 |  |  | mohsin.ali@ses-tek.com
2 |  | Synergy Technologies (Pvt) Ltd | F-61/7 Block 4, Clifton, Karachi | Qamar Saeed | Mgr. Projects | 0300 3335161 |  |  | qamar.saeed@synergyav.com
3 |  | Desert Sound [multiple agencies] | 22-C/II, 2nd Zamzama Commercial Lane, Phase V, D.H.A Karachi | Karim Bhorabhoy | CEO |  |  |  | info@desertsound.com.pk
|  |  |  | M. Ali German | Head of Projects | 034 58253863 | 021-111-570-111
4 |  | Britlite Engineering Company [multiple agencies] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net info@britlite.net
|  |  |  | Mr. Saad Qadeer | Project Engr | 0321 2894200 | (021) 35341736
5 |  | Trace Enterprises | 15A Sasi Arcade Block 7, Clifton, Karachi. 75600 | Mr. Yousuf | Director | 0300 2852269 | (021) 35821152 |  | http://traceenterprise.com/
(021) 35874402
1 | Fire Alarm System | Secure Vision [Zeta (UL)] | Office # 17, Crown Center, SB-01, Block 13C, Gulshan-e-lqbal, Karachi-75300 | Mr. Ahmed Ali | CEO | 0301 8502042 | (021) 34830466 | (021) 34830450 | sales@securevision.com.pk
|  |  |  | Mr. Waqas Rasheed | Dir. Sales | 0301 8502044
2 |  | Elite Fire & Security [Triga (UL)] | 32-C, 4th Floor, 24 Commercial Street, Phase-2-Ext. DHA, Karachi |  |  |  | (021) 35866991 |  | info@elitefire.com.pk
(021) 35866992
3 |  | Britlite Engineering Company [Esser by Honeywell, GST] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Mr. Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net
|  |  |  | Ms. Bushra | Mgr. Project | 0321 2874321 | (021) 35341736 |  | marketing.bis@britlite.net
4 |  | Pak Security & Safety Systems [Secutron, Canada (UL)] | 20-21 Amber Motel, 51-G Block-6, PECHS, Karachi | Fahad Hasan | CEO | 0335 2233070 | (021) 34528541 |  | fahad@pak-sss.com fdhn123@yahoo.com
(021) 34546818
5 |  | Telecom Engineering Co. [Farenhyte by Honeywell (UL), Notifier by Honeywell (UL)] | Suit # 101, 1st floor, Sea Breeze Plaza, Sharah-e-faisal, Karachi -75530 | Mr. Asadullah Khan | Man. Partner | 0300 2345755 | (021) 3278 7711 | (021) 32791115 | asad@tec.com.pk
|  |  |  | Mr. Adeel Shah | Mgr. Sales | 0335 3035706 | (021) 3278 7722 |  | adeel@tec.com.pk
1 | Security System (Access Control System) | Secure Vision [Virdi] | Office # 17, Crown Center, SB-01, Block 13C, Gulshan-e-lqbal, Karachi-75300 | Mr. Ahmed Ali | CEO | 0301 8502042 | (021) 34830466 | (021) 34830450 | sales@securevision.com.pk
|  |  |  | Mr. Waqas Rasheed | Dir. Sales | 0301 8502044
2 |  | Pak Security & Safety Systems [Apollo, USA] | 20-21 Amber Motel, 51-G Block-6, PECHS, Karachi | Fahad Hasan | CEO | 0335 2233070 | (021) 34528541 |  | fahad@pak-sss.com fdhn123@yahoo.com
(021) 34546818
3 |  | Britlite Engineering Company [] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Mr. Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net
|  |  |  | Ms. Bushra | Mgr. Project | 0321 2874321 | (021) 35341736 |  | marketing.bis@britlite.net
4 |  | Telecom Engineering Co. [HID, Honeywell] | Suit # 101, 1st floor, Sea Breeze Plaza, Sharah-e-faisal, Karachi -75530 | Mr. Asadullah Khan | Man. Partner | 0300 2345755 | (021) 3278 7711 | (021) 32791115 | asad@tec.com.pk
|  |  |  | Mr. Adeel Shah | Mgr. Sales | 0335 3035706 | (021) 3278 7722 |  | adeel@tec.com.pk
1 | Security System (CCTV) | Secure Vision [Dahua, China AXIS, USA] | Office # 17, Crown Center, SB-01, Block 13C, Gulshan-e-lqbal, Karachi-75300 | Mr. Ahmed Ali | CEO | 0301 8502042 | (021) 34830466 | (021) 34830450 | sales@securevision.com.pk
|  |  |  | Mr. Waqas Rasheed | Dir. Sales | 0301 8502044
2 |  | Pak Security & Safety Systems [HIK Vision, China] | 20-21 Amber Motel, 51-G Block-6, PECHS, Karachi | Fahad Hasan | CEO | 0335 2233070 | (021) 34528541 |  | fahad@pak-sss.com fdhn123@yahoo.com
(021) 34546818
3 |  | Britlite Engineering Company [HIK Vision, China Honeywell, China] | 12-C, First Floor, Seher Lane No. 9, Phase 7 D.H.A., Karachi | Mr. Rizwan Mirza | CEO | 0321 3789188 | (021) 35341732 |  | bec@britlite.net
|  |  |  | Ms. Bushra | Mgr. Project | 0321 2874321 | (021) 35341736 |  | marketing.bis@britlite.net
4 |  | Telecom Engineering Co. [HID, Honeywell, Bosch, HIK Vision] | Suit # 101, 1st floor, Sea Breeze Plaza, Sharah-e-faisal, Karachi -75530 | Mr. Asadullah Khan | Man. Partner | 0300 2345755 | (021) 3278 7711 | (021) 32791115 | asad@tec.com.pk
|  |  |  | Mr. Adeel Shah | Mgr. Sales | 0335 3035706 | (021) 3278 7722 |  | adeel@tec.com.pk
5 |  | Vital Tech International [Dahua, China Samsung, Korea] | 84 L, Ghazali Road, Block 2, P.E.C.H.S, Karach | Mr. Azhar Altaf | Sr. Mgr. Marketing | 0300 8229359 | (021) 34556973 |  | azhar@vitaltechintl.com
1 | Communication Cables (Copper, 23 AWG, LSZH) | Business IT Solutions [Corning, USA] | Banglow # 306 Sharfabad Bahadurabad Karachi | Mr. Waseem | Chief Comm. Officer | 0300 2429091 | (021) 33329044 |  | waseem@businessits.com.pk
[7 empty] | (021) 34533000 |  | sales@businessits.com.pk
2 |  | HYDZ Traders [Schneider electric] | Plot No. 17-C, 24th Commercial Street, Phase II Ext. DHA, Karachi | Mr. Hussain | General Manager | 0339 0005253 | 0339 786-HYDZ |  | hksw@hydztraders.com
3 |  | Power House [Schneider Electric] | 101-102, Sector 15 Korangi Industrial Area, Karachi | Mr. Faraz | Manager | 0301 8201906 | (021) 35386771-2 |  | info@powerhouseexpress.com.pk
4 |  | MA Tech [Pony, Japan] | Bldg. # 94C, Khy-e-Ittehad, Phase II Ext D.H.A. Karachi, Pakistan 75500 |  |  |  | (021) 35313721-5 |  | sales@matech.com.pk
1 | Communication Cables (Fiber Optic) | Business IT Solutions [Corning, USA] | Banglow # 306 Sharfabad Bahadurabad Karachi | Mr. Waseem | Chief Comm. Officer | 0300 2429091 | (021) 33329044 |  | waseem@businessits.com.pk
[7 empty] | (021) 34533000 |  | sales@businessits.com.pk
2 |  | HYDZ Traders [Schneider electric] | Plot No. 17-C, 24th Commercial Street, Phase II Ext. DHA, Karachi | Mr. Hussain | General Manager | 0339 0005253 | 0339 786-HYDZ |  | hksw@hydztraders.com
3 |  | Power House [Schneider Electric] | 101-102, Sector 15 Korangi Industrial Area, Karachi | Mr. Faraz | Manager | 0301 8201906 | (021) 35386771-2 |  | info@powerhouseexpress.com.pk
1 | Voice / Data | Business IT Solutions [Corning, USA] | Banglow # 306 Sharfabad Bahadurabad Karachi | Mr. Waseem | Chief Comm. Officer | 0300 2429091 | (021) 33329044 |  | waseem@businessits.com.pk
[7 empty] | (021) 34533000 |  | sales@businessits.com.pk
2 |  | HYDZ Traders [Schneider electric] | Plot No. 17-C, 24th Commercial Street, Phase II Ext. DHA, Karachi | Mr. Hussain | General Manager | 0339 0005253 | 0339 786-HYDZ |  | hksw@hydztraders.com
1 | IT Racks | Business IT Solutions [APC, HP] (Refurbished and New) | Banglow # 306 Sharfabad Bahadurabad Karachi | Mr. Waseem | Chief Comm. Officer | 0300 2429091 | (021) 33329044 |  | waseem@businessits.com.pk
[7 empty] | (021) 34533000 |  | sales@businessits.com.pk
2 |  | Concord, Velocity, Toten | Alpha Technologies | Mr. Abdul Ganny | COO | 0321 3763926
|  |  |  | Mr. Haris | Proj. Mgr | 0321 3763926
1 | Active IT Equipment | MB Communication [Cisco, (Refurbished) D-Link] | Shop #SA-16, 2nd Floor TechnoCity, Opp Uni Centre, Hasrat Mohani Road, Karachi |  |  |  | (021) 32270926 |  | sales@mbcommunication.com.pk
(021) 32270927
2 |  | Microtech Inc. [Cisco (Refurbished) Ubiquiti, Ruijie, Dlink, Huawei e-kit] | Suite # 303, 3rd Floor, The Progressive Plaza Beaumont Road, Karachi | Zubair Khan | Director Sales |  | (021) 35684555 |  | sales@microtech.net.pk
[7 empty] | (021) 35684666 |  | info@microtech.net.pk

## HVAC Summary
EXECUTIVE SUMMARY OF COST OF HVAC & FSS WORKS
S. No. | Description | Material | Labour | Total | Total
|  | (PKR) | (PKR) | (PKR) | (£.)
1 | Section 01: Supply, Installation of HVAC Equipment | 0 | 0 | 0 | 0
2 | Section 02: Supply, Installation & Testing of Piping & Cabling Works | 0 | 0 | 0 | 0
3 | Section 03: Supply, Installation of Fire Extinguishers | 0 | 0 | 0 | 0
4 | Section 04: Miscellaneous Works | 0 | 0 | 0 | 0
GRAND TOTAL (SECTION 01 TO SECTION 04) (PKR & POUND) |  | 0 | 0 | 0 | 0

## HVAC B.O.Q
BILL OF QUANTITIES OF HVAC & FSS WORKS
S. No. |  | Description | Qty. | Unit | Material (Rs.) |  | Labour (Rs.) |  | Total (Rs.) | Total (£.)
[5 empty] | Rate | Amount | Rate | Amount | Amount | Amount
Section 01: Supply, Installation of HVAC Equipment
1 |  | Supply, Installation, Rigging & Lifting of DX Split Units of different capacities and Types including supports, brackets, rubber isolators, power wiring, core cuts, CC Pads etc, complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 1.1 | Wall Mounted Units (DX Reversible AC Units - Heat & Cool with T3 Compressors)
| a | WM-2.0 / CU-2.0 ( ~ 2.0 TR Nominal, Standard ) | 6 | Nos. |  | 0 |  | 0 | 0 | 0
SUB-TOTAL FOR SECTION 01 (Rs. & £.) | [5 empty] | 0 |  | 0 | 0 | 0
Section 02: Supply, Installation & Testing of Piping Works
1 |  | Supply, Installation & Testing of Liquid & Gas Refrigerant Copper Pipes with 13mm thick Expended Rubber Foam Insulation, PVC tape & etc. complete in all respect and ready to operate as per specifications, drawings and as per instruction of Consultant. (Note: Pipe Sizes to be as per the final Units Selection)
| 1.1 | For DX Split Units
| a | Ø 9mm & 15mm (Liquid & Gas Piping) (FOR 2.0 TR UNITS) | 20 | Rm. |  | 0 |  | 0 | 0 | 0
2 |  | Supply & installation of Control Wiring from outdoor units to indoor units for all the above mentioned units (G.I. conduits for external use / PVC conduits for internal use) including microprocessor & central controller wiring and installation of central contoller complete in all respects ready to operate as per instruction of consultant. | 20 | Rm. |  | 0 |  | 0 | 0 | 0
3 |  | Supply, Installation & Testing of uPVC Drain Pipe with 9mm Thick Rubber Foam Insulation including clamps, bends, tees, drain plugs, sockets, protection treatment, PVC tape etc. complete in all respects and as per instructions of Consultant.
| a | Ø 25mm | 30 | Rm. |  | 0 |  | 0 | 0 | 0
SUB-TOTAL FOR SECTION 02 (Rs. & £.) | [5 empty] | 0 |  | 0 | 0 | 0
Section 03: Supply, Installation of Fire Extinguishers
1 |  | Supply & Installation of Fire Extinguishers as per Standards of NFPA 10. Along with hangers & supports etc. complete in all respects ready to operate as per drawings, instruction and approval of Consultant.
| a | 5 Kg. CO2 | 2 | Nos. |  | 0 |  | 0 | 0 | 0
| b | DCP 6 Kg Extinguishers | 2 | Nos. |  | 0 |  | 0 | 0 | 0
SUB-TOTAL FOR SECTION 03 (Rs. & £.) | [5 empty] | 0 |  | 0 | 0 | 0
Section 04: Miscellaneous Works
1 |  | Dismantling, Core Cutting, Water Proofing, Equipment CC foundation, Masonary & Plaster work Where Required | 1 | Job. |  | 0 |  | 0 | 0 | 0
2 |  | Testing, adjusting, Additional gas, Balancing & Commissioning of Entire HVAC system. | 1 | Job. |  | 0 |  | 0 | 0 | 0
3 |  | Supply, Installation and Commissioning of fire stopping material as per specifications and drawings complete in all respect. | 1 | Job. |  | 0 |  | 0 | 0 | 0
4 |  | Making of Shop Drawings and As-Built Drawings on Auto CAD with sectional details, equipment details and their foundation details, Technical submittals and sample boards complete in all respect as per instruction of Consultant. | 1 | Job. |  | 0 |  | 0 | 0 | 0
5 |  | Supply, installing and commissioning of items not listed in BOQ but required for complition of work to ensure satisfactory performance. (Contractor to provide list) | 1 | Job. |  | 0 |  | 0 | 0 | 0
SUB-TOTAL FOR SECTION 04 (Rs. & £.) | [5 empty] | 0 |  | 0 | 0 | 0
TOTAL COST OF WORKS (SECTION 01 TO SECTION 04) (Rs. & £.) | [5 empty] | 0 |  | 0 | 0 | 0

## List of approved Vendors
LIST OF APPROVED MAKES FOR HVAC & FSS WORKS
S. No. | Item | Make / Manufacturer | Authorized Dealer | Contact No.
1 | Split System | GREE, CHINA PACIFIC, CHINA TCL, CHINA LG, KOREA HITACHI, CHINA | M/S. DWP M/S. SMARTCLIMATE SOLUTIONS M/S. AMCON GROUP OF COMPANIES M/S. ICEBERG INDUSTRIES M/S. AIREX TRADING CO. (Pvt.) Ltd | 021-34322341 - 2, Ext: 110 021-34329995-6 021-35848896 021-35391871 92-42-111-000-229, 0328-6719133
2 | COPPER PIPES | MULLER, USA | M/S. CRESCENT CORPORATION | 042- 3764 3162
3 | VENTILATION FANS & HRV's | BVN, TURKEY INFINAIR, CHINA SODECA, ITALY MUNTERS, ITALY CASALS, SPAIN | M/S. IDEAS ASSOCIATES M/S. ZAG TRADERS M/S. KHURSHID ENGINEERING M/S. PEPCO PAKISTAN M/S. CRESCENT CORPORATION | 021- 3454 2302 0331-3670450 042- 35446335 055-3204402-4, 042-35956273 042- 3764 3162
4 | AIR CURTAINS | IMPORTED MAKE | IMPORTED MAKE AS PER APPROVED SUBMITTALS & SAMPLE | ----------------
5 | PRE-INSULATED SHEETS | PEARL, UAE PAL, UAE (KINGSPAN) EUROPAN, ITALY | M/S. NEOTECH ENGINEERING M/S. FAKHRI BROTHERS M/S. NEOTECH ENGINEERING | 042- 3594 8136 021- 3588 6201 ~ 5 042- 3594 8136
6 | NBR/EPDM/XLPE INSULATION | DURKEE, CHINA AEROFLEX, THAILAND AEROFOAM, UAE | M/S. CRESCENT CORPORATION M/S. KATYS M/s. ZAG TRADERS | 042- 3764 3162 021- 34520916 0331-3670450
7 | UPVC PIPE & FITTING (SCH. 40) | AGM, SAUDI ARABIA DADEX, PAKISTAN | M/S. MALIK CORPORATION Mr. KHURRAM JAWAID | 021- 35241666 ~ 0345-9997722 0300-2929567
8 | MCC & DBs | A TO Z ELECTRONICS HUSSAIN & COMPANY BILAL SWITCH GEARS SOUTH ASIAN ELECTRIC CONCERN | M/S. A TO ZEE ENGINEERING M/S. HUSSAIN & COMPANY M/S. BILAL SWITCH GEARS M/S. SOUTH ASIAN ELECTRIC CONCERN | 021- 3512 1798 021- 3634 1930 042- 3630 5462 042- 3653 0000 ~ 2
9 | CABLES & WIRES | PAKISTAN CABLES PIONEER CABLES | M/S. PAKISTAN CABLES M/S. PIONEER CABLES | 021- 111 222 537 021- 3241 6511 ~ 4
10 | AIR DEVICES (Or Equivalent, as per approved samples) | AIR GUIDE STEEL CRAFT SHAN INDUSTRIES ENGATECH E.A.P AIR DEVICIES | M/S. AIR GUIDE M/S. STEEL CRAFT M/s. SHAN INDUSTIES M/S. ENGATECH INTERNATIONAL M/S. ENGINEERING AIR PRODUCTS | 021- 3452 3256 051- 3547 4761 021- 3501 9865 ~ 9 021- 3498 2605 042- 35299448
11 | SUPPORTS, HANGERS | INDEX, SPAIN FISCHER, GERMANY HILTI, GERMANY | M/S. ZAG TRADERS M/S. H.S Ahmed Ally M/S. HILTI PAKISTAN / VPL LTD. | 0331-3670450 051- 5511 748 021- 111 875 875
12 | CONCRETE FASTENERS | INDEX, SPAIN FISCHER, GERMANY HILTI, GERMANY | M/S. ZAG TRADERS M/S. H.S Ahmed Ally M/S. HILTI PAKISTAN / VPL LTD. | 0331-3670450 051- 5511 748 021- 111 875 875
| PVC CONDUIT | GALCO BETA | M/s. MAHMOOD INDUSTRIES M/s. BETA PIPES | 021- 32412252 042- 35172410 ~ 1
| VIBRATION ISOLATORS | TARIQ CORPORATION (as per approved sample) | M/S. TARIQ CORPORATION | 021- 3453 8128
| FIRE EXTINGUSHERS | SFFECO (KSA), NAFFCO (UAE), LIFECO (UAE), FIREX (UAE), BRISTOL (UAE), SRI (MALAYSIA)
|  |  | M/S. ZARA ENGINEERS | 021- 34837727
|  |  | M/S. FAKHRI BROTHERS | 021- 3588 6201 ~ 5
|  |  | AYJ SOLUTIONS | 0345-2107829
|  |  | M/S. SECURE VISION | 021- 34830466
| FIRE STOPPING MATERIAL AND SYSTEM | FISHCER, GERMANY | M/S. H.S AHMED ALLY | 021- 34548345 ~ 46 ~ 47
|  | HILTI, GERMANY | M/S. HILTI PAKISTAN / VPL LTD. | 021- 111 875 875
|  | FIRESTOP(STI), USA | M/S. INGENIOUS ENGINEERING | 021- 3432 6894

## Rate Card & Resources
Pricing Approach [10%] - Change Percentage as appropriate to the tender
[Guidance Note: Amend the below table and/or format (as required) ensuring an appropriate breakdown of resource costs has been factored in to enable objective marking of all bidder responses. If resource costs are not applicable to the requirement, then this worksheet can be deleted]
[Guidance Note: To ensure like for like quotes, all supplier in the worked example below MUST give a day rate for all disciplines with clear instructions for the Supplier to complete all Day Rates. Another method is to allow the supplier to add number of days of each discipline for the work. If you use this method ensure all equations are correct for the overall price to be calculated. If there is another mechanism to be used ensure the supplier knows how the overall Price will be determined within this sheet.]
Rate Card: Suppliers should provide the day rates (exclusive of VAT) used in relation to any professional services elements of their costs in the table below:
Role | Day Rate (£GBP) | Description of role & level of experience
e.g. Senior Project Mgr. | 0 | e.g. Senior project manager typically with 15+ years experience .
e.g. IT Consultant | 0
e.g. Solutions Architect | 0
e.g. Business Analyst | 0
e.g. Technical Lead | 0
e.g. Configuration Engineer | 0
e.g. Developer | 0
e.g. Tester | 0
e.g. Senior Partner / Director’ | 0
e.g. Managing Consultant/Accountant/ Auditor | 0
e.g. Senior Consultant/Consultant | 0
etc. | 0 | Add additional rows as required
Overall Price | 0

## Travel & Subsistence
Travel and Subsistence
[Guidance Note: The below table can be amended to correctly reflect the Travel & Subsistence (T&S) rates for the local office. If T&S rates are not applicable to the requirement, then this worksheet must be deleted]
[Guidance Note: To ensure the project gets an all inclusive price, the suggestion is to remove this tab and ensure the RFP/ITT/Quote states that all expenses are to be included in the tender. ]
Travel and Subsistence is expected to comply with the British Council Travel Policy including usage of the [UK] rates as set out below. If the supplier is unable to comply with this, please state your reasons in the space marked Supplier Comments (highlighted in yellow)
Travel
Car 45p a mile for 10,000 business miles, thereafter 22.5p a mile.
Bicycle 20p a mile.
Motorcycle 24p a mile
Flights as per Travel Policy
Train Travel as per Travel Policy
Hotel Accommodation (per night)
London £150 or less
Edinburgh £90 or less
Other cities in the UK £80 or less
Hotels outside of the UK at cost
Meal allowances (per day)
Breakfast £5
Lunch £8
Dinner £30
Supplier Comments:

## Assumptions and Exclusions
Assumptions and Exclusions
Suppliers must list and explain any assumptions and/or exclusions they have made in relation to the costing's provided in the rows below
| Title / brief description | Description / Detail
1 | All rates to be quoted in PKR
2 | All charges are exclsuive of applicable taxes, please enlist applicable taxes
3 | All rates have been mentioned as per pricing instructions in each tab for all scopes.
4 | All rates have been mentioned as per approved makes for all scopes.
5 | All rates have been mentioned after reviewing complete tender package and tender specifications for all scopes.
6 | Please specify conversion of GBP @ 347/-PKR
7
8
9
10
n | Add additional rows as required