## Instructions
Annex 3 Pricing Approach - RFP for
Bidder instructions for completion:
1. Kindly insert costs in all 8 tabs of the sheet.
2. Submit this document together with all other mandatory documentation to mohammad.qasim@britishcouncil.org.pk / https://tap.tcsapps.com/tap2/#/bc-supplier-registration by the Response Deadline, as set out in the Timescales section of the RFP document
Note: All pricing must be provided be in PKR as mentioned in "requirement costs" tab and charges mentioned separately in "Assumption and Exclusion" Tab

## Costs Summary (2)
Pricing Approach 50%
| Requirements Costs: Use the table below to insert costs for the requirements within the Specification/Terms of Reference |  |  | Dated: 24th November, 2025
S.No | DESCRIPTION |  |  | TOTAL AMOUNT PKR | AMOUNT GBP
1 | CIVIL & I.D WORKS |  |  | 0 | 0
TOTAL OF CIVIL & I.D WORKS |  |  |  | 0 | 0
S.No | DESCRIPTION | SUPPLY AMOUNT PKR | SERVICES AMOUNT PKR | TOTAL AMOUNT PKR | AMOUNT GBP
6 | Other Costs: Use the table below to insert any other cost associated with the requirements and ongoing operation:
A | Electricity cost consumption for Construction phase |  |  | 0 | 0
B | Water cost Consumption for construction phase |  |  | 0 | 0
Add additional rows as required
TOTAL OF OTHER COSTS |  | 0 | 0 | 0 | 0
|  |  |  | TOTAL AMOUNT PKR | AMOUNT GBP
SUB-TOTAL OF 1 TO 6 (Inclusive WHT Only) |  |  |  | 0 | 0
SST 15% SALES TAX VALUE |  |  |  | 0 | 0
GRAND TOTAL AMOUNT (Inclusive WHT & SST) |  |  |  | 0 | 0
CONVERSION RATE 1 £ GBP RATE TO PKR |  |  |  | 348
GRAND TOTAL AMOUNT IN £ GBP (Inclusive WHT & SST) |  |  |  | 0

## B.O.Q - Toilets - BC Khi (2)
BILL OF QUANTITIES
I.D & CIVIL WORKS
BRITISH COUNCIL KARACHI.
TOILETS AREA
Dated: 24th November, 2025
S.No | Description | Qty | Unit | Rate | Amount in PKR | Amount in £
1 | DISMANTLING
(Applicable as per Site situation & condition)
Dismantling of existing items all over are as follows:
i | Doors Panels with Frames to be dismantled. | 6 | Nos |  | 0 | 0
ii | Granite Counter Top & Cabinet Aluminum Shutters to be dismantled with care & handed over to client | 2 | Jobs |  | 0 | 0
iii | Block Masonary & Unrinal Area Low Height Partitions approx 300 Sq.ft as Internal Walls of Toilet Area Cubicles. | 1 | Job |  | 0 | 0
iv | Basins with Faucets & Accessories complete | 4 | Nos |  | 0 | 0
v | Commode & W.C with Faucets & Accessories complete | 4 | Nos |  | 0 | 0
vi | Urinal with Faucets & Accessories complete | 1 | Job |  | 0 | 0
vii | Existing Ceiling to be dismantled with care & handed over to client. Approx Area 360 Sq.ft | 1 | Job |  | 0 | 0
viii | Existing Tile Floor with CC Floor to be removed upto required level as required for proposed Tile installation to match the existing level. Approx Area 360 Sq.ft | 1 | Job |  | 0 | 0
ix | Existing Wall Tiles with CC Floor to be removed upto required level as required for proposed Tile installation to match the existing level. Approx Area 800 Sq.ft | 1 | Job |  | 0 | 0
x | CC Pads under Basin Cabinets | 2 | Jobs |  | 0 | 0
xi | Electrical Points complete with Wiring, Fixtures & Conduting | 1 | Job |  | 0 | 0
xii | Plumbing Points complete with Floor & Wall Points open / Concealed | 1 | Job |  | 0 | 0
Note - 1: 1. After Dismantling Site cleaning and disposal of all debris / rubbish outside from job site to proper dispose area allowed by the authorities. Complete with all Labour and scffolding (if required). 2. Contractor should visit site or refer the job from Images given with tender before quoting on above mentioned works. 3. All Useable material to be dismantled & Handed over to Client. 3. Dismantlted Doors & other useable Items to be dispose by the contractor with the permission of Client.
2 | BLOCK MASONRY
Providing and Laying Block masonry upto full height including jointing and pointing with 1:6 cement sand mortar with chipping, hacking the concreted surfaces for bonding, Including RCC Lintels above Door & Window openings as required, scaffolding to be provided if required as per directed by the Architect etc. with all material & labour complete in all respect.
i | 5" thk - 71 Rft upto 9'-6" height approx | 674.5 | Sft |  | 0 | 0
3 | ½" to ¾" THK.WALL PLASTER (Both Sides)
Providing and laying ½" to ¾" thk.cc 1:4 cement sand plaster on both sides brick masonry ,including chipping and hacking the concreted surfaces for bonding of plaster, scaffolding to be provided if required as per directed by the Architect etc. complete in all respect.
i | Over Both Side of 5" thk Masonry Walls Including Door & Window Jambs | 1349 | Sft |  | 0 | 0
4 | WATER PROOFING OF TOILETS & PANTRY
Providing and applying water proofing agent /chemical (Asphalt free) Cementious based of approved quality and vendor (SIKA Chemicals) under raised floors of toilets and walls all around upto 3'-0" height as shown in drawing and directed by the Architect etc complete in all respect.
i | Over all Floor area | 360 | Sft
ii | Over all Walls area 195 Rft upto 3'-0" height approx | 585 | Sft
Total |  | 945 | Sft |  | 0 | 0
5 | FALSE CEILINGS (Ref Dwg : ID - 05)
5.1 | GYPSUM BOARD FALSE CEILING IN DIFFERENT LEVELS ( Paint finish)
Providing fixing and installation 12mm thk. moisture resistance gypsum board paint finish plain false ceiling as levels in drawing of approved make / brand suspended type with G.I frame work of approved section including all accessories of G.I. 6mm Full threaded Rod with fischer anchor hanging system to fixed over RCC Slab, Joints to be sealed with approved fiber gauze tape over all including cutting of holes for light fixture etc. Flush gap over end to Walls & Columns, Edge protective Strip on all expose joints, Ceiling inclusive of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing complete in all respect as per drawing and directed by the Architect. (United Brand) (Inclusive Paint Work) Note: To provide more strength to ceiling, the spacing of G.I channels of frame to be more close both ways. Scaffolding for Double Height Ceiling to be provided by contractor.
i | Ceiling At Lev + 2700mm including Vertical Bulkheads & Pelmets | 310 | Sft |  | 0 | 0
GENERAL DETAILS
6 | TOILETS
6.1 | 24" x 48" PORCELAIN TILE ON FLOOR & WALLS
Providing and laying of porcelain tiles of approved size, color & shade on floor & walls with required basic Price @ Rs.3500/Sqm laid with 1; 4 ratio Cement / Dry bond with 3mm and tuff formica thick groove, & grouting including chipping & hacking of existing floor before laying of new tile floor as shown in drawing etc. with all material & labour complete in all respect. (Tiles to be approved by the Client/Architect)
FLOOR
| Over All Floor | 310 | Sqft
WALLS upto 7'-0" Height
| Over All Walls 190 Rft including Door Jambs | 1330 | Sqft
| Total | 1640 | Sqft |  | 0 | 0
6.2 | 5mm MIRROR
Providing & Fixing 5mm thk Mirror Glass pasted with silicon over Projected Cement board back Panel with vertical Light Provision, Mirror of Ever Silver China with base price upto Rs: 550/- per Sqft . Verify areas to receive mirror are correct size and within tolerance, mirror are clean and free of obstructions, including polyurethane plastic Sheet 100 micron for protection from seepage of back side with packing tape etc., Protect installed mirror from contact with contaminating substances resulting from construction operations. installed mirror should be free of chips, cracks, and other inclusions that could inhibit structural or aesthetic integrity, Complete with all respects and Conforming to the requirements of drawings, specifications and to the entire satisfaction of the Project Engineer. With all material & labour complete in all respect.
i | 6'-0" x 3'-0" x 2 Nos (Actual Sizes to be followed as per Dwg) | 36 | Sqft |  | 0 | 0
ii | 3'-0" x 3'-6" x 2 Nos (Actual Sizes to be followed as per Dwg) | 21 | Sqft |  | 0 | 0
7 | DOORS & VENTILATORS
7.1 | TUFF FORMICA FINISH WOODEN SOLID FLUSH DOOR WITH OAK WOOD POLISH FINISH DOOR FRAME.
Providing making and fixing 38mm thk. Solid Flush Door Panel consisting of 8mm Thk MDF on Both Side over Solignum Treated Partal Wood Frame & Infill with Applying both side with Tuff Formica as per approved sample with 38mm wide PVC Lipping all around Door Panel. Door Panel to be 2" Less from top & bottom from Door Frame Height, 38mm x 100mm Polished Solid Oak Wood Door Frame. Hardwarw as 4 Nos of 4" long S.S.or Brass hinges with Barring, approved Handle door Lock , Door Closer & Stopper (D&D / JTC from J.B Saeed or Approved equivalent)and all other necessary hardware and iron mongrey all wood to be treated with Anti termite chemical sulution etc. Complete Door as per Detail & Design Shown in Drawing with all material & Labor complete in all respect.
A | D-01 = 3'-0" x 7'-0" | 2 | Nos |  | 0 | 0
7.2 | TUFF FORMICA FINISH WOODEN SOLID FLUSH DOOR WITH OAK WOOD POLISH FINISH DOOR FRAME 2 VERTICAL SIDE ONLY.
Providing making and fixing 38mm thk. Solid Flush Door Panel consisting of 8mm Thk MDF on Both Side over Solignum Treated Partal Wood Frame & Infill with Applying both side with Tuff Formica as per approved sample with 38mm wide PVC Lipping all around Door Panel. Door Panel to be 2" Less from top & bottom from Door Frame Height, 38mm x 100mm Polished Solid Oak Wood Door Frame Vertical on 2 Sides only. Hardwarw as 4 Nos of 4" long S.S.or Brass hinges with Barring, approved door Lock with Indicator Privacy Dead Bolt Latch Vacant Engaged, Door Closer & Stopper (D&D / JTC from J.B Saeed or Approved equivalent) and all other necessary hardware and iron mongrey all wood to be treated with Anti termite chemical sulution etc. Complete Door as per Detail & Design Shown in Drawing with all material & Labor complete in all respect.
A | D-02 = 2'-6" x 7'-0" | 6 | Nos |  | 0 | 0
10 | PAINT WORK
Providing and applying matt finish internal paint of 3 coats of NIPPON Spot Less Water Based Matt Emulsion Paint as per approved shade / colour over same Brand Base Coats of Primer & Filling Putty with all nescessary filling & rubbing with corborendum stone, filling with putty/filler and finish the surface in 3 coats etc.with all material, scaffolding & labour complete in all respect as per drawing and directed by the Architect.
i | False Ceiling (Plastic Emulsion) ( Included with Items)
ii | Gypsum & Cement Board Partition & Claddings (Water based Matt Enamel) ( Included with Items )
Masonry Walls - Internal Walls Above Tile upto False Ceiling
WALLS upto 2'-0" Height
| Over All Walls 195 Rft | 390 | Sqft |  | 0 | 0
iii | External Elevation (Weather Sheild)
GENERAL NOTES:
i | Scaffolding where ever required with Material & labour to be provided by the Contractor as in for Internal & External Paint, Tiling, Ceiling and over all internal & external works.
ii | All quantities are as per drawing actual measurements that will be verified on Final Bill, Wastage to be incorporated in rates.
iii | Contractor should visit site or refer the job from Images given with tender before quoting on above mentioned works.
TOTAL AMOUNT OF I.D & CIVIL WORKS (Incl WHT Only) |  |  |  |  | 0 | 0

## Elect Comp Summary
British Council Lahore
Lahore
Summary of Cost
BIDDER'S
S.No. | Description
A | BASIC ELECTRICAL REQUIREMENTS
B | BASIC ELECTRICAL MATERIAL & METHODS
C | WIRING ACCESSORIES
D | LIGHT FIXTURES
E | STRUCTURED CABLING SYSTEM
F | MISCELLANEOUS ITEMS
SUB-TOTAL (ELECTRICAL WORKS)
GST / Panjab Sales Tax (@ ______ %) [Contractor to fill in taxes as appropriate]
TOTAL COST OF ELECTRICAL WORKS
In Words: Rupees:

## Electrical Comp
BRITISH COUNCIL
Lahore
BIDDER'S
Item No. | Description | Qty | Unit
Notes:
a) See pricing preambles / General Instructions.
b) Contractor shall be resposible for managing all statutory regulations such as submission of WCR, Electrical Inspector Approval etc. (Refer BoQ Section A)
c) All items shall be provided with minimum 2 years warranty. Incase of default warranty of 1 year, 2 year extended warranty shall be specified in a separate line item in the relevant section of BoQ (if specified / required)
d) No AutoCAD design drawing shall be provided to the contractor who shall be responsible for engaging the services of a qualified and technical competent electrical engineer to prepare shop drawings, technical documentation and liaise with the British Council
f) Contractor shall keep under consideration payment mode of British Council. 20% amount shall be with-held from each bill, 10% of which shall be released on project handover. Remaining 10% shall be released after 3 month of project handover (end of Defect & Liability Period)
g) PKR - GBP Conversion Rate
A | BASIC ELECTRICAL REQUIREMENTS
Particular Notes:
a) See pricing preambles / General Instructions.
b) Contractor shall submit and get approved the (shop and interiam /final as-built) drawings on hard copy format prior to submission of final copies in soft and hard copy formats
1 | Development and submission of Shop Drawings in AutoCAD format on non-erasible media(CD-R /DVD-R) and two hard copies (tracing+white paper) on appropriate paper size. Note: This item does not relieve the contractor from submission of shop drawings for Distribution Boards, Low Current Systems etc.) | 0 | Jobs
2 | Development and submission of As-built Drawings in AutoCAD format on non-erasible media(CD-R /DVD-R) and two hard copies (tracing+white paper) on appropriate paper size. Note: This item does not relieve the contractor from submission of shop drawings for Distribution Boards, Low Current Systems etc.) | 1 | Jobs
3 | Dismatlling of existing electrical installation at BCL site including cleaning and proper stacking of all dismantled items for hand over to client for further disposal / re-use as per client discretion. Dismantling shall include light fixtures, Communication and other ELV Cables, general wiring and power cables etc. | 1 | Jobs
4 | Mandatory: Obtaining NoC / Approval from Electric Inspector (Karachi region) for the facility excluding Standby Power Generation System (official inspection charges/fee will be paid by the client on production of demand note etc on behalf of the client) | 1 | Jobs
5 | Provide services of technically competent and qualifed electrical engineer in developing project requirements / documentation and liaise with Consultant for all necessary projecct related activities as per specifications document, including quantity verification etc | 1 | Jobs
6 | Providing and connecting up of temporary electricity lighting and power cabling (1 to 2 distribution points), including temporary main and sub distribution boards, site vide LED lighting and power cabling between main and sub distribution boards, complete in all respects. Contractor shall also be responsible for removal of all such equipment when no longer required on site | 1 | Jobs
Total Cost of Basic Electrical Requirements:
B | BASIC ELECTRICAL MATERIAL & METHODS
Particular Notes:
a) See pricing preambles / General Instructions.
b) Separate back boxes shall be used for Emergency / UPS circuits for normal light / power wiring
c) Wiring shall be done with appropriate color codes as per latest edition of IEEE wiring regulations
d) Wiring Accessories shall be based on Clipsal C-Vivace series (white)
1 | Providing and fixing of following point wiring with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC (cream color for clean / isolated earth) in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good and all accessories, 10A gang switch, fan dimmer, 2 way switch, bell push, ceiling rose, sheet steel back-box with earth terminal, fan hook, connectors etc.,1.0mmsq 3-core flexible PVC/PVC cord upto fixture, etc., for;
a) | DB / UPS-DB / LCP to switch / relay / dimmer (including wiring between switching units on same circuit) with 2x2.5mmsq conductors and 2.5mmsq CPC |  | Nos.
b) | Light / exhaust / fan point to switch with 2x1.5mmsq conductors and 1.5mmsq CPC |  | Nos.
c) | Same as item 1c above, but light point, from point to point |  | Nos.
d) | Fixture to fixture with 3C x 1.0mmsq flexible conductors |  | Nos.
e) | Non switched emergency light point wiring from DB to 1st light point with 3 core 1.5sqmm PH 60 fire retardant cable in appropriate size PVC conduit |  | Nos.
f) | Same as item 1(e) above, but light point, from point to point. |  | Nos.
2 | Providing and fixing of switch socket-outlet point wiring with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC (cream color for clean / isolated earth) in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, sheet steel back-box with earth terminal, connectors etc., and all accessories, as follows:
a) | From DB to 5A/13A Round / Universal switch socket outlet point with 2x2.5mmsq conductors and 2.5mmsq CPC |  | Nos.
b) | Same as (a) above but, point to point with 2x2.5mmsq conductors and 2.5mmsq CPC |  | Nos.
c) | Same as (a) but adjacent outlet with 2x1.5mmsq conductors + 1.5mmsq CPC |  | Nos.
d) | DB to 15 / 20A spur outlet point with 2x4.0mmsq conductors and 4.0mmsq CPC (hand dryer and insect killer) |  | Nos.
3 | Providing and fixing of 20 amp isolator wiring for AC / ventilation fans/ Water Heater, including wiring between isolator and indoor unit with single core PVC insulated 450/750 volt grade copper conductors, including green/yellow CPC, in appropriate size class B PVC conduit rigid / flexible, clipped to the surface, or concealed in structure or in already-laid trunking, including cutting, chasing, making good, sheet steel back-box with earth terminal for isolator and all mounting accessories, as follows:
a) | From DB to 20A SPN isolator point with 2x4.0mmsq conductors and 4.0mmsq as CPC |  | Nos.
Total Cost of Electrical Material and Methods:
C | WIRING ACCESSORIES
Particular Notes:
a) See pricing preambles / General Instructions.
b) Cost of industrial sockets shall be of complete set (male + female)
c) Wiring Accessories shall be based on Clipsal C-Vivace series (white)
1 | Providing and fixing following rating 250/500 volt switch socket outlet and all mounting accessories
a) | 3 pin, 13 Amp, 250 volt universal switch socket outlet |  | Nos.
b) | 3 pin, 15 Amp, 250 volt switch socket outlet |  | Nos.
c) | 20 Amp, 250 volt, spur outlet for hand drier / insect killer |  | Nos.
d) | 20A, 250V, double pole isolator switch with neon indication (AC, air curtain, water heater, etc.) |  | Nos.
2 | Providing and fixing following rating SP&N 250 / TP&N 500 volts weather proof load break switches / isolator, including whether proof sheet steel enclosure and all mounting accessories
a) | 20A, 250V, SP&N |  | Nos.
3 | Providing and fixing following type 250 volts ceiling suspended, false ceiling mounted fan / exhaust fan, including all mounting accessories
a) |  |  | No.
b) |  |  | No.
Total Cost of Wiring Accessories
D | LIGHT FIXTURES
Particular Notes:
a) See pricing preambles / General Instructions.
b) LED Flat panel lights shall be inclusive of false ceiling frame
c) All lamps shall be warm white (4000K) unless otherwise stated or instructed by Architect / Consultant
d) Ballast shall be of electronic type as indicated
e) All light fixtures including emergency and exit lights shall be LED type
f) All light fixtures shall be rated at minimum 35000 opterating hours
1 | Providing and Fixing of following light fixtures as per fixture schedule or equivalent light fixture as approved by consultant installed on surface or on false ceiling or pendant mounted, with all accessories such as lamps, lamp holders, ballast, starters, capacitors, LED drivers as applicable, etc. and all relevant installation material as approved by the Engineer, complete in all respects
a) | Fixture type "A": Recessed type COB LED Down Light fixture including 12W LED lamp (warm white) |  | Nos.
Total Cost of Light Fixtures:
F | MISCELLANEOUS ITEMS
Particular Notes:
a) See pricing preambles / General Instructions.
a) | Please mention any miscelleanous items for the activity
b) | 1" dia
Total Cost of Miscellaneous items

## Plumbing Comp Summary
British Council
Lahore
Summary of Cost
BIDDER'S
S.No. | Description
PLUMBING WORKS
A | GENERAL PLUMBING WORKS
B | SOIL, WASTE & VENT SYSTEM
C | WATER SUPPLY
D | DRAINAGE, SEWERAGE ACCESSORIES & STRUCTURES
E | PLUMBING FIXTURES
Sub Total (Plumbing Works)
GST / Panjab Sales Tax (@ ______ %) [Contractor to fill in taxes as appropriate]
Total (Plumbing Works)
In Words: Rupees:

## Plumbing Comp
British Council
Lahore
BIDDER'S
Item No. | Description | Qty | Unit
Notes:
a) See pricing preambles / General Instructions.
b) Contractor shall be resposible for managing all statutory regulations such as KWSB and other municpal requirement etc
c) The Contractor shall conform to all the requirements of the “Rules and Regulations for Plumbing Works”
d) PKR - GBP Conversion Rate
A | GENERAL PLUMBING WORKS
Particular Notes:
a) See pricing preambles / General Instructions.
1 | Contractor shall submit and get approved the (shop and interiam /final as-built) drawings on hard copy format prior to submission of final copies in soft and hard copy formats
2 | Development and submission of As-built Drawings, all in double line, in AutoCAD format on non-erasible media(CD-R /DVD-R) and two hard copies (white paper) on appropriate paper size. | 1 | Job
Total Cost of General Plumbing Works
B | SOIL, WASTE & VENT SYSTEM
UPVC SOIL PIPE
1 | Providing and fixing of Unplasticized polyvinyl chloride (UPVC) pipe; (above ground to BS 4514, below ground to BS 4660); including all supports, fittings, markings, painting materials, fire stops, flexible joints, consumables and other required materials to complete the piping installation as per drawings and specifications (Dadex Nikasi-Push Fit Rubber Ring Socket Joint, or approved equivalent)
a) | 110mm Ø (OD) pipe |  | Rft.
b) | 200mm Ø (OD) pipe |  | Rft.
UPVC WASTE PIPE
2 | Unplasticized polyvinyl chloride (UPVC) pipe; above ground; conforming to BS 4514; including all supports, fittings, markings, painting materials, fire stops, flexible joints, consumables and other required materials to complete the piping installation as per drawings and specifications (Dadex Nikasi-Push Fit Rubber Ring Socket Joint)
a) | 50mm Ø (OD) pipe |  | Rft.
b) | 82mm Ø (OD) pipe |  | Rft.
Total Cost of Soil, Waste & Vent system:
C | WATER SUPPLY
PPR PIPE & FITTING
1 | Provide, fix and joint, testing poly propylene pipe as manufactured by "Jeddah/ Pak Arab/ Approved equivalent" as per BS 5174 or DIN 8028 including specials fittings such as socket, tees, elbows bends, reducer plug and union etc) supported on wall or buried in walls or suspended from roof slab as per specifications including color tagging complete in all respect, providing sleeve in wall.
a) | 25mm dia |  | Rft.
b) | 32mm dia |  | Rft.
c) | 40mm dia |  | Rft.
d) | 50mm dia |  | Rft.
GATE VALVE
2 | Providing, Fixing of full way gate valves of brass trim with threaded ends brass trim flanged ends for 150 psi together with all additional material required for a complete installation as describe in the specification and as shown on drawings and to the entire satisfaction of the Project consultant.
a) | 25mm dia |  | No.
b) | 32mm dia |  | No.
b) | 40mm dia |  | No.
Total Cost of Water Supply:
D | DRAINAGE, SEWERAGE ACCESSORIES & STRUCTURES
Particular Notes:
a) See pricing preambles / General Instructions.
1 | Drainage specialties/fixtures; including lead flashing and all related fixing materials as per drawings and specifications (JR Smith or approcved equal)
a) | Floor drain, 6" dia |  | No.
b) | Gully trap, 12" X 12" |  | No.
2 | Excavation and back filling for the sewerage and plumbing pipes as per drawings and specifications. | 1 | Job
Total Cost of Drainage, Sewerage Accessories and Structures
E | PLUMBING FIXTURES
Particular Notes:
a) See pricing preambles / General Instructions.
b) Plumbing fixtures and trims; sanitaryware schedule, including all necessary fittings, fixings, joints, supports, and necessary accessories as per drawings and specifications
1 | ASIAN W.C WATER CLOSET (Porta)
a) | Supply and fix white glazed fireclay Asian W.C. double action flushing cistern, including all water supply pipes, C.P. angle valves, C.P. connectors, UPVC drainage pipe connecting to the nearest manhole or sewage header as per specifications , drawings and supervisor engineer instructions. (Porta HD-70 with flushing tank) | 2 | Nos.
b) | C.P. Angle Valve for cisterns water inlet |  | No.
c) | C.P. connectors with nuts and fittings |  | No.
d) | Muslim Showers with double bib cock, flexible hose, valve nozzle spout (Faisal Base Price upto 2,500) | 2 | Nos.
e) | C.P. Angle Valve for Muslim shower water inlet |  | No.
2 | EUROPEAN W.C WATER CLOSET (Porta)
a) | Supply and fix white glazed fireclay European W.C. double action flushing cistern, including all water supply pipes, C.P. angle valves, C.P. connectors, UPVC drainage pipe connecting to the nearest manhole or sewage header as per specifications , drawings and supervisor engineer instructions. (Porta (Porta HD-12N with flushing tank) | 4 | Nos.
b) | C.P. Angle Valve for cisterns water inlet |  | No.
c) | C.P. connectors with nuts and fittings |  | No.
d) | Muslim Showers with double bib cock, flexible hose, valve nozzle spout (Faisal Base Price upto 2,500) | 4 | Nos.
e) | C.P. Angle Valve for Muslim shower water inlet |  | No.
3 | WASH BASIN
a) | Supply and fix white glazed fire clay hand wash basin with half pedestral, complete with all water supply pipes, waste fitting, trap, Bottle Trap & Tee Stop-Cocks, and the drainage line 2” to the nearest floor trap. (Porta HDLP 201AH Half Pedestal) | 4 | Nos.
b) | Supply and fix white glazed fire clay low height hand wash basin with half pedestral, complete with all water supply pipes, waste fitting, trap, Bottle Trap & Tee Stop-Cocks, and the drainage line 2” to the nearest floor trap. (Porta HDLP 201AH Half Pedestal) | 2 | Nos.
c) | C.P. Tee Valves for wash basins hot and cold water inlet |  | No.
d) | C.P. Bottle Trap for wash basin; complete with cleaning eye and overflow connection |  | No.
e) | Wash Basin Sensor Mixer for commercial use with temperature control (GROHE, Kohler or equivalent - battery life minimum 7 years with minimum 150 washes per day) | 6 | Nos.
4 | Supply, fixing, testing and commissiong of following bathroom accesssories, including all mounting accessories, complete in all respects
a) | Toilet Paper Holder (Faisal Base Price upto 1,500) | 4 | Nos.
b) | Soap Tray (Faisal Base Price upto 1,500) | 4 | Nos.
Total Cost of Plumbing Fixtures

## Assumptions and Exclusions
Assumptions and Exclusions
Suppliers must list and explain any assumptions and/or exclusions they have made in relation to the costing's provided in the rows below
| Title / brief description | Description / Detail
1 | All rates to be quoted in PKR
2 | All charges are exclsuive of applicable taxes, please enlist applicable taxes
3 | All rates have been mentioned as per pricing instructions in each tab for all scopes.
4 | All rates have been mentioned as per approved makes for all scopes.
5 | All rates have been mentioned after reviewing complete tender package and tender specifications for all scopes.
6 | Please specify conversion of GBP @ 348/-PKR
7 | All electricity for construction shall be provided by IM Sciences and shall be billed to contractor, hence rates should be mentioned accordingly.
8 | All water consumption for construction shall be provided by British Council Karachi and shall be billed to contractor, hence rates should be mentioned accordingly.
9
10
n | Add additional rows as required