Request for Proposal (RFP)

For: Facilities Maintenance & Management Services

Date: 15 March 2016

- Overview of the British Council

1.1 	The British Council is the United Kingdom’s international organisation for cultural relations and educational opportunities. Its purpose is to build engagement and trust for the UK through the exchange of knowledge and ideas between people worldwide.  It seeks to achieve its aims by working in education, science, governance, English and the arts. In 2013-14, its programmes reached a total audience of 600 million people worldwide and we engaged directly with 10.9 million. In 2013 to 2014, the British Council had a total turnover of £864million.  Its income included a grant-aid of £165 million from the UK government, £573 million from fees and income from services such as English teaching, exams administration and £117 million from the management of client-funded contracts, and funding from a wide range of public and private sector partners.

1.2 	The British Council was established in 1934 and incorporated by Royal Charter in 1940.  It is registered as a charity in England and Wales (charity no. 209131) and Scotland (charity no. SCO37733).  It is also an executive non-departmental public body, with the Foreign and Commonwealth Office as its sponsoring department.

1.3 	Its primary charitable objects are set out in the Charter and are stated to be to:

- Promote cultural relationships and the understanding of different cultures between people and peoples of the United Kingdom and other countries;

- Promote a wider knowledge of the United Kingdom;

- Develop a wider knowledge of the English language;

- Encourage cultural, scientific, technological and other educational co-operation between the United Kingdom and other countries; and

- Otherwise promote the advancement of education.

1.4 	The British Council works in more than 110 countries around the world and employs over 7000 staff worldwide.  It has its headquarters in the UK, with offices in London, Manchester, Belfast, Cardiff and Edinburgh. Further information can be viewed at www.britishcouncil.org.

# Introduction and Background to the Project / Programme

British Council is looking for one window solution for Facilities Maintenance & management Services across Pakistan. Along-with agreed standard services, service provider should be able to meet British Council policy requirements of following areas:

- Information Management

- Security

- Health & Safety

The reason for hiring new service provider for Facilities Maintenance & management Services is to meet expended requirement for existing and future requirements. Similarly, as our business expending therefore we need more options to meet our facilities requirements more efficiently & effectively.

- Tender Conditions and Contractual Requirements

This section of the RFP sets out the British Council’s contracting requirements, general policy requirements, and the general tender conditions relating to this procurement process (“Procurement Process”).

3.1	Contracting requirements

3.1.1	The contracting authority is the British Council which includes any subsidiary companies and other organisations that control or are controlled by the British Council from time to time (see: http://www.britishcouncil.org/organisation/structure/status).

3.1.2	The appointed supplier will be expected to deliver the goods and/or provide services at the British Council offices in Lahore & Karachi.

3.1.3	The British Council’s contracting and commercial approach in respect of the required goods and/or services is set out at Annex [1] (Terms and Conditions of contract) (“Contract”).  By submitting a tender response, you are agreeing to be bound by the terms of this RFP and the Contract without further negotiation or amendment.

3.1.4	The Contract awarded will be for duration of two years, schedule will be shared upon award of work.

3.1.5	In the event that you have any concerns or queries in relation to the Contract, you should submit a clarification request in accordance with the provisions of this RFP by the Clarification Deadline (as defined below in the Timescales section of this RFP). Following such clarification requests, the British Council may issue a clarification change to the Contract that will apply to all potential suppliers submitting a tender response.

3.1.6	The British Council is under no obligations to consider any clarifications / amendments to the Contract proposed following the Clarification Deadline, but before the Response Deadline (as defined below in the Timescales section of this RFP). Any proposed amendments received from a potential supplier as part its tender response shall entitle the British Council to reject that tender response and to disqualify that potential supplier from this Procurement Process.

3.2	General Policy Requirements

3.2.1 	By submitting a tender response in connection with this Procurement Process, potential suppliers confirm that they will, and that they shall ensure that any consortium members and/or subcontractors will, comply with all applicable laws, codes of practice, statutory guidance and applicable British Council policies relevant to the goods and/or services being supplied. All relevant British Council policies that suppliers are expected to comply with can be found on the British Council website (https://www.britishcouncil.org/organisation/transparency/policies). The list of relevant policies includes (but it is not limited to): Anti-Fraud and Corruption, Child Protection Policy, Equality, Diversity and Inclusion Policy, Fair Trading, Health and Safety Policy, Environmental Policy, Records Management, and Privacy.

3.3	General tender conditions (“Tender Conditions”)

3.3.1	Application of these Tender Conditions – In participating in this Procurement Process and/or by submitting a tender response it will be implied that you accept and will be bound by all the provisions of this RFP and its Annexes. Accordingly, tender responses should be on the basis of and strictly in accordance with the requirements of this RFP.

3.3.2	Third party verifications – Your tender response is submitted on the basis that you consent to the British Council carrying out all necessary actions to verify the information that you have provided;  and the analysis of your tender response being undertaken by one or more third parties commissioned by the British Council for such purposes.

3.3.3 	Information provided to potential suppliers – Information that is supplied to potential suppliers as part of this Procurement Process is supplied in good faith. The information contained in the RFP and the supporting documents and in any related written or oral communication is believed to be correct at the time of issue but the British Council will not accept any liability for its accuracy, adequacy or completeness and no warranty is given as such. This exclusion does not extend to any fraudulent misrepresentation made by or on behalf of the British Council.

3.3.4 	Potential suppliers to make their own enquires – You are responsible for analysing and reviewing all information provided to you as part of this Procurement Process and for forming your own opinions and seeking advice as you consider appropriate. You should notify the British Council promptly of any perceived ambiguity, inconsistency or omission in this RFP and/or any in of its associated documents and/or in any information provided to you as part of this Procurement Process.

3.3.5	Amendments to the RFP – At any time prior to the Response Deadline, the British Council may amend the RFP. Any such amendment shall be issued to all potential suppliers, and if appropriate to ensure potential suppliers have reasonable time in which to take such amendment into account, the Response Deadline shall, at the discretion of the British Council, be extended.

3.3.6 	Compliance of tender response submission – Any goods and/or services offered should be on the basis of and strictly in accordance with the RFP (including, without limitation, any specification of the British Council’s requirements, these Tender Conditions and the Contract) and all other documents and any clarifications or updates issued by the British Council as part of this Procurement Process.

3.3.7	Format of tender response submission – Tender responses must comprise the relevant documents specified by the British Council completed in all areas and in the format as detailed by the British Council Scope of work (Supplier Response). Any documents requested by the British Council must be completed in full. It is, therefore, important that you read the RFP carefully before completing and submitting your tender response.

3.3.8	Modifications to tender response documents once submitted – You may modify your tender response prior to the Response Deadline by giving written notice to the British Council. Any modification should be clear and submitted as a complete new tender response in accordance to the Scope of work (Supplier Response) and these Tender Conditions.

3.3.9	Rejection of tender responses or other documents – A tender response or any other document requested by the British Council may be rejected which:

- Contains gaps, omissions, misrepresentations, errors, uncompleted sections, or changes to the format of the tender documentation provided;

- Contains hand written amendments which have not been initialled by the authorised signatory;

- Does not reflect and confirm full and unconditional compliance with all of the documents issued by the British Council forming part of the RFP;

- Contains any caveats or any other statements or assumptions qualifying the tender response that are not capable of evaluation in accordance with the evaluation model or requiring changes to any documents issued by the British Council in any way;

- Is not submitted in a manner consistent with the provisions set out in this RFP;

- Is received after the Response Deadline.

3.3.10	Disqualification – If you breach these Tender Conditions, if there are any errors, omissions or material adverse changes relating to any information supplied by you at any stage in this Procurement Process, if any other circumstances set out in this RFP, and/or in any supporting documents, entitling the British Council to reject a tender response apply and/or if you or your appointed advisers attempt:

- To inappropriately influence this Procurement Process;

- To fix or set the price for goods or services ;

- To enter into an arrangement with any other party that such party shall refrain from submitting a tender response;

- To enter into any arrangement with any other party (other than another party that forms part of your consortium bid or is your proposed sub-contractor) as to the prices submitted; or

- To collude in any other way

- To engage in direct or indirect bribery or canvassing by you or your appointed advisers in relation to this Procurement Process; or

- To obtain information from any of the employees, agents or advisors of the British Council concerning this Procurement Process (other than as set out in these Tender Conditions) or from another potential supplier or another tender response,

The British Council shall be entitled to reject your tender response in full and to disqualify you from this Procurement Process. Subject to the “Liability” Tender Condition below, by participating in this Procurement Process you accept that the British Council shall have no liability to a disqualified potential supplier in these circumstances.

3.3.11	Tender costs – You are responsible for obtaining all information necessary for preparation of your tender response and for all costs and expenses incurred in preparation of the tender response. Subject to the “Liability” Tender Condition below, you accept by your participation in this procurement, including without limitation the submission of a tender response, that you will not be entitled to claim from the British Council any costs, expenses or liabilities that you may incur in tendering for this procurement irrespective of whether or not your tender response is successful.

3.3.12	Rights to cancel or vary this Procurement Proc form of communication with potential suppliers, the British Council is not bound in any way to enter into any contractual or other arrangement with you or any other potential supplier. It is intended that the remainder of this Procurement Process will take place in accordance with the provisions of this RFP but the British Council reserves the right to terminate, amend or vary (to include, without limitation, in relation to any timescales or deadlines) this Procurement Process by notice to all potential supplier in writing. Subject to the “Liability” Tender Condition below, the British will have no liability for any losses, costs or expenses caused to you as a result of such termination, amendment or variation.

3.3.13	Consortium Members and sub-contractors – It is your responsibility to ensure that any staff, consortium members, sub-contractors and advisers abide by these Tender Conditions and the requirement of this RFP.

3.3.14	Liability – Nothing in these Tender Conditions is intended to exclude or limit the liability of the British Council in relation to fraud or in other circumstances where the British Council’s liability may not be limited under any applicable law.

4 	Confidentiality and Information Governance

4.1	All information supplied to you by the British Council, including this RFP and all other documents relating to this Procurement Process, either in writing or orally, must be treated in confidence and not disclosed to any third party (save to your professional advisers, consortium members and/or sub-contractors strictly for the purposes only of helping you to participate in this Procurement Process and/or prepare your tender response) unless the information is already in the public domain or is required to be disclosed under any applicable laws.

4.2	You shall not disclose, copy or reproduce any of the information supplied to you as part of this Procurement Process other than for the purposes of preparing and submitting a tender response. There must be no publicity by you regarding the Procurement Process or the future award of any contract unless the British Council has given express written consent to the relevant communication.

4.3	This RFP and its accompanying documents shall remain the property of the British Council and must be returned on demand.

4.4	The British Council reserves the right to disclose all documents relating to this Procurement Process, including without limitation your tender response, to any employee, third party agent, adviser or other third party involved in the procurement in support of, and/or in collaboration with, the British Council. The British Council further reserves the right to publish the Contract once awarded and/or disclose information in connection with supplier performance under the Contract in accordance with any public sector transparency policies (as referred to below). By participating in this Procurement Process, you agree to such disclosure and/or publication by the British Council in accordance with such rights reserved by it under this paragraph.

4.5	The Freedom of Information Act 2000 (“FOIA”), the Environmental Information Regulations 2004 (“EIR”), and public sector transparency policies apply to the British Council (together the “Disclosure Obligations”).

4.6	You should be aware of the British Council’s obligations and responsibilities under the Disclosure Obligations to disclose information held by the British Council. Information provided by you in connection with this Procurement Process, or with any contract that may be awarded as a result of this exercise, may therefore have to be disclosed by the British Council under the Disclosure Obligations, unless the British Council decides that one of the statutory exemptions under the FOIA or the EIR applies.

4.7	The use of blanket protective markings of whole documents such as “commercial in confidence” will not be sufficient. By participating in this Procurement Process you agree that the British Council should not and will not be bound by any such markings.

4.8	In addition, marking any material as “confidential” or “commercially sensitive” or equivalent should not be taken to mean that the British Council accepts any duty of confidentiality by virtue of such marking. You accept that the decision as to which information will be disclosed is reserved to the British Council, notwithstanding any consultation with you or any designation of information as confidential or commercially sensitive or equivalent you may have made. You agree, by participating further in this Procurement Process and/or submitting your tender response, that all information is provided to the British Council on the basis that it may be disclosed under the Disclosure Obligations if the British Council considers that it is required to do so and/or may be used by the British Council in accordance with the provisions provision of this RFP.

4.9	Tender responses are also submitted on the condition that the appointed supplier will only process personal data (as may be defined under any relevant data protection laws) that it gains access to in performance of this Contract in accordance with the British Council ’s instructions and will not use such personal data for any other purpose. The contracted supplier will undertake to process any personal data on the British Council’s behalf in accordance with the relevant provisions of any relevant data protection laws and to ensure all consents required under such laws are obtained.

5	Tender Validity

5.1	Your tender response must remain open for acceptance by the British Council for a period of 60 Day’s from the Response Deadline. A tender response not valid for this period may be rejected by the British Council.

6	Payment and Invoicing

6.1 	The British Council will pay correctly addressed and undisputed invoices within 30 days in accordance with the requirements of the Contract. Suppliers to the British Council must ensure comparable payment provisions apply to the payment of their sub-contractors and the sub-contractors of their sub-contractors. General requirements for an invoice for the British Council include:

- A description of the good/services supplied is included.

- The British Council Purchase Order number is included.

7	Specification

The scope of work includes:

| Sr No | Location | Details | Remarks |
| --- | --- | --- | --- |
| 01 | Main Office in Mozang Lahore | British Council Lahore office buildings and Library | 16 Kanal with 6 multiple building can be visited for details |
| 02 | House in DHA Phase 1 | Staff residence | 2 Kanal House |
| 03 | House in Cantt near Fortress | Staff Residence | 2 Kanal House |
| 04 | House in Cantt Fotress | Staff Residence | 1.5 Kanal House |
| 05 | House in Cavalry | Staff Residence | 1 Kanal House |
| 06 | Apartment in Gulberg | Staff Residence | 5 Marla |
| Sr No | Location | Details | Remarks |
| 01 | Main Office in Clifton Karachi | British Council Karachi office building including Library | 1100 square meter or 11836 square feet |

The FM Company shall be required to provide operational and maintenance services on 24 X 7 bases to Company. The FM Service Provider will be directly responsible for ensuring operational service levels and that the performance is met. They will be directly reporting to the Site Facility / Admin Management Team of Company. Facilities Team of Company will have responsibilities to define policies, procedures and standards, and provide advice to the FM Service Provider from time to time, as required. FM Service Provider shall design the manpower for Company considering the following equipment’s and Services that are to be provided the Service Provider to the Company.

The Service Provider shall also provide the following Services:

Services Required.

Preventive Maintenance Schedule to be followed with 100% compliance and Predictive maintenance techniques to be followed for all equipment furniture and fixtures.

Need to prepare the records of routine service visits to be logged and tracking to be done against actual visits

Keep the Inventory status of all spares and consumables required for the maintenance of the facility and update on weekly basis

All the Daily, Weekly, Monthly, Quarterly, Half Yearly and Annual Reports and Checklists to be adhered to 100%

FM Service provider needs to conduct quarterly systems & equipment health audits with and through the AMC Service provider and submit a health status report to the Head of FM in Company.

# GENSET/GENERATOR OPERATIONS:

## Standard Operating Procedures:

Oil change, replacement of air and fuel filter is necessary for the smooth operation of Gen set and its timely service. Gen set’s manual may be followed during its maintenance phase.

Recommended quality wires / cables must be used as per required specifications.

Recommended circuit breakers must be used as per required specifications.

Equal distribution of load must be done on each phase of the gen set.

The power distribution done through the Generator must be concealed in order to eliminate any chances of possible damage to the cable.

ATS panel must be inspected at regular intervals for any possible wear and tear.

Any increase in the electric load must be checked prior to shifting it on the Gen set, so it may not exceed its load range. Also, coordinate with local electricity service provider to resolve any power load issues.

The following steps must be carried out in routine:

- Vendor will check the functioning of the backup generators (Gen set) daily. He will also ensure that it is working properly.

- Vendor technical assistant will maintain the record of electricity shutdown time, load on Gen set and the diesel filled in Gen set through Gen set log (hard copy).

- There is ample fuel in the Gen set as well as in the stock at all times.(where required).

- In case any main repair and change of parts of the gen set is required, Vendor will follow the approval process.

- The necessary repair/maintenance work will be verified by the Facilities officer and technical assistant. In case of a major defect, the vendor/contractor will be responsible for providing a backup generator until the malfunctioning generator becomes functional again. Lead-time to arrange backup generator to replace faulty should not exceed 24 hours.

- Vendor will confirm the completion of the required job after getting it checked/verified by the Facilities officer.

- Vendor will ensure the presence of Technical assistants at all times and at all British Council facilities.

## Repair & Maintenance Check

## Oil, Air and Oil Filter

- Oil, air and oil filter must be changed after the gen set has run for 100-250 hours depending on the capacity of the gen set.

- Service of the generator should be carried out every month by the vendor.

- The total running life of the battery of the generator depends upon its usage. The battery should be checked periodically and replaced as soon as it becomes weak.

- The radiator should be checked every day to ensure that the water is at the required level.

## There should be an optimum level of fuel (not less than 75%) in the fuel tank of the generator at all times.

    - Recommended power cables must be used as per required specifications which should be concealed in order to avoid any possible damage to them.

    - These should be checked every day to ensure that they are in good condition.

    - The ATS panel should be checked every day as it is a significant part of the generator.

    - The load for each generator should be calculated according to its specifications (capacity of the generator).

    - The optimum load on each generator should be 80% and the load should never exceed this limit in any case at any time. The load should be checked periodically through an ampere meter.

    - The load should be distributed evenly on all the three phases of the generator as unequal distribution of load can cause malfunctioning of the generator.

## Magnetic contactor should be checked every day to ensure smooth running of the generator.

    - Recommended circuit breakers should be installed in all the generators as per required specifications.

    - One extra circuit breaker should be available in every facility for every generator at all times.

    - .There should be a minimum stock of 500 liters as backup in case there is shortage of fuel for any reason; enough to last at least 3-4 days.

    - At least one person should be trained in each facility to turn on/off the generator manually and handle minor issues.(guards can be one )

    - In case the trained person is not present at the time any issue occurs, Vendor should have plan B.

## Standard Operating Procedures for off days/Holidays

In case of non-working of company generator (s)

- Vendor must have power back-up Plan B.

- He should have the contacts to get Gen Set rented immediately.

- Maintenance work must be continued and carried out while power from a secondary source is being used.

- Director/Head of Facilities has authority to make on the spot decisions upon recommendation from the technical Vendor..

3. Fire Suppression System

Operation and daily maintenance of the FSS and related equipment’s in accordance with the Manufacturer’s Instruction Manual.

Daily check for gas pressure

Ensure that the Checklists are adhered with utmost care and regularity

Any breakdown/malfunctioning of the Equipment will be attended as per procedures of the original manufacturers and suppliers of associated equipment(s).

All the Daily, Weekly, Monthly, Quarterly, Half Yearly and Annual Reports and Checklists to be adhered to 100%

FM Service provider needs to conduct quarterly systems & equipment health audits and submit a health status report to the Head of FM in Company

FM Service provider needs to conduct Fire Audit for every 6 months through internal Company specialists.

4. Mechanical & Electrical Facilities

A) Electrical System

FM Service Provider will ensure smooth operation of the electrical switch gears, cables etc.

FM Service Provider will be responsible for availability of requisite power at all utility points.

Check for tightness of connections, any overheating. Regular cleaning of panels on weekly basis.

All sockets should be tested once every six months for the voltage levels and earthing

All power cables should be checked for continuity, any broken conductor or damage to the insulation

Cables of portable equipment like vacuum cleaners, Xerox machines, and laptops should be checked once in three months, while for desktop Computers and other stationary equipment it should be once in six months

Earthing should be checked regularly as part of maintenance for tightness, corrosion etc. and should be rectified in case any deficiency is found.

The Resistance of earthing pits should be checked regularly and action to be taken for correction with approval of Company.

A log of earthing values should be maintained quarterly

Check all motors across facility against Noise, Temp, Vibration, Imbalance of Phase current on weekly basis and record them

Ensure that the Checklists are adhered with utmost care and regularity

Preventive Maintenance Schedule to be followed with 100% compliance for all motors and other electrical equipment’s, Predictive maintenance techniques to be followed

History of maintenance to be maintained for each and every equipment

Co-ordination of all activities with outside agencies for the purpose of maintenance and upkeep of equipment will be carried out by the FM Service Provider

Maintain proper inventory of all bulbs / tube lights / spares

Ensure all the fused bulbs / tube lights are replaced as and when required

Log down Electrical Meter readings

All alarms to be checked and logged

FM needs to procure all the engineering consumables as per Company Procurement policy

FM Service provider needs to conduct Electro mechanical equipment audit for every 6 months

B) Civil Works & Maintenance: Carpentry:

Check all

- Door closers

- floor springs

- Handles

- Hinges

- Locks

- Latches

- Shutters

- Doors

Attend to complaints/requests within 30minutes of lodging of the complaints for repairing the chair, opening a stuck drawer etc. Minor repairs to be carried out immediate.

Co-ordinate with chair repairing technician, floor spring/door closer technicians, blinds repairman etc.

Plumbing:

- Check all Cloakrooms – W/C, urinals, and clear blockages if any.

- Attend to complaints/requests within 30 minutes of lodging of the complaints

- Clear blockages in main line as and when required.

- Check inventory of spares & consumables

- General Repairs

- Co-ordinate for works like painting, polishing, tiling, ceiling works etc.

5. Fire, Life, Safety (Fire detection, alarm system)

5.1 Fire detection and alarm system: (Smoke Detector – panel) Daily Checks

Check the power supply position of all the panels

Check the LED of panels through lamp test switch

Check the health of battery

Check the battery, if used; boost charges of the same after restoration of power supply.

Check any fault if indicated on panels and rectify the same immediate.

Fortnightly checks:

Operational readiness of system during main power failures.

Check the operation of external hooters.

Monthly Checks

Check the fire circuit of each zone from the panels

Check whether signal of fire and fault gets transmitted to main panel.

Quarterly checks

Check fault circuit to each zone by actually deactivating wire or by removing detection.

Check fire circuits by actually giving smoke to each detector of each zone

Cleaning of all type of detectors with a cloth piece from outside

Check the sensitivity of the detectors.

Half yearly checks

Properly clean all detectors with vacuum cleaner or a blower.

Annual Inspection Test

All the tests, which are carried out in quarterly inspection

Operation of at least 10% of the detectors in an installation should be checked each month and the selection should be done in such a way that all the detectors in any installations shall have been checked at least once in every year. Replacement of faulty one’s with new ones in coordination with AMC service provider

5.2 Fire Extinguishers

- Clean the exterior of the extinguisher. Brass parts with metal polish, and chromium plated parts with silver polish.

- Check the nozzle outlet and vent holes and the threaded portion of the cap for clogging and check the plunger is in working position and is clean.

- Check the cap washer, grease the threads of cap plunger

- Check pressure of all fire extinguishers.

- Check for validity of Fire extinguisher and should take necessary steps to intimate Company Admin for their timely refilling.

7. General Services

- Shredders maintenance

- Ovens / Microwave maintenance Fridge / Freezer / Water dispensers etc.

- Track all annual maintenance service contracts and ensure timely renewals

- Maintain and regularly update the preventive maintenance plan.

- Manage inventory of all required spares & consumables

- Ensure all planned repair and maintenance works are carried out

- Ensure all routine operations of equipment and systems are carried out.

- Ensure adequate supervision of all operations & maintenance activities

- Ensure adequate manpower available to carry out all the services mentioned in this schedule.

- Negotiate & recommend for all works / purchases as per Company procurement guidelines

- Ensure all vendors are on Company approved vendor list.

- Help desk to be maintained and operational for at least 10 hours a day, 6 days a week.

- Ensure all works are carried out as per Safety guidelines laid down by the Company.

- Check and authorize the receipt of material, satisfactory completion of work, etc.

- General fumigation must be carried out on quarterly/half yearly basis. However, ensure all necessary insecticide spray should be available to deal with urgent application.

High Cost Maintenance Requirements

In case the maintenance requirement involves the replacement of a high cost item like a repair of a wall with seepage, etc. or a new requirement, Vendor shall seek prior approval from Company.

Vendor shall keep the complainant briefed about the progress and arrange for the completion of the assignment on receipt of such approval.

Type of Services

Vendor help desk is the sole service for the physical maintenance of the premises and the scope of services will include electrical, plumbing, masonry, painting, polishing, air-conditioning and carpentry problems, co-ordination for installation and maintenance of air-conditioner or other equipment,, etc.

Operating Hours. Help Desk must have a dedicated computer with an internet connection for logging the complaints and generation of reports. Complaint must be logged immediately upon receipt.

9. Reports

The following reports will be submitted to Company

1. Facility Management Monthly Report containing the following

Consumption of consumables

i. Soft Service

ii. Mechanical

iii. Electrical

iv. Civil

v. Miscellaneous

Any other required by the company.

10. Overall Guidelines

- Provide multi-skilled and trained staff

- All staff must be above 18 years of age.

- Painting work should be organized on call basis

- Carpet shampooing needs to be done on need basis

- The staff should be trained on all the services mentioned in the RFP

- The staff should have good communication skills, should preferably speak / write in English

- There should be minimum staff on-site at all times (staffing levels should not compromise on service delivery)

- The staff should be dressed in standard uniform.

- There should be adequate off-site backup, trained, to ensure 100% service delivery.

- The FM Service Provider shall ensure that all statutory compliances (PF, , Minimum wages, contract labour act, etc.) as applicable are adhered to for any person employed by them directly or indirectly. Company reserves the right to terminate the agreement in case there is any flouting of the law

- Worker’s Compensation and Employer’s Liability Coverage equivalent to the minimum amount required by law

- All sub-contractors / vendors working under the FM Service Provider, should complete the due diligence formalities as specified by the Company

- FM Service Provider will provide and manage all safety equipment’s and shall be responsible for the safety of his staff/ personnel deputed at the said premises.

- The service provider should carry out Police and address verification of all manpower deployed by him in the said premises.

Safety Guidelines

- The FM Service Provider must know and follow their duties related to safety for all personnel. These guidelines are applicable to FM Service Providers as well as sub-contractors deployed by them at the site

- All FM Service Provider workmen should be provided with a uniform by the FM Service Provider and shall work within the Company premises in their prescribed uniform

- The FM Service Provider shall ensure that no access (passages / access to emergency apparatus / exits) is blocked, unless so authorized by Company personnel beforehand

- The FM Service Provider shall provide prior information to the Company representative about any hazardous material being brought on the site and shall ensure security storage of such material

- The FM Service Provider must leave work areas in a clean, tidy and safe condition at the end of each working period

- The FM Service Provider should ensure that their personnel do not consume alcohol / do not smoke / do not take drugs on site

- All workmen of the FM Service Provider or their sub-contractors must have valid identifications cards verified by the Company Security Department & shall display at all times during duty hours

Services to be undertaken by the Service Provider for Facility Management Services.

Site officer

- Should be able diagnose and rectify major/minor faults in Electrical, HVAC, Plumbing etc.

- Should be able contribute in initiatives like Energy, Water savings and Waste reduction

- Good leadership qualities

- Good communications skills

- Understand and speak English

Technical Staff

- Should be qualified and experienced with in their respective fields have hands on experience in operation and maintenance.

Training:

All employees should have basic training in Maintenance / Security & Health and Safety.

8 	Mandatory Requirements / Constraints

8.1	As part of your tender response, you must confirm that you meet the mandatory requirements / constraints, if any, as set out in the British Council’s specification forming part of this RFP. A failure to comply with one or more mandatory requirements or constraints shall entitle the British Council to reject a tender response in full.

9 	Qualification Requirements

9.1	As part of your tender response, you must confirm compliance with qualification requirements. A failure to comply with one or more such qualification requirements shall entitle the British Council to reject a tender response in full.

- Commercial.

- Technical.

10	Key background documents and further information

10.1	Further relevant background documents / information may be provided to potential suppliers as set out below, as an Annex to this RFP and/or by way of the issue of additional documents / links to additional information / documents. Where no such information / documents are provided, this Section of the RFP will not apply.

11	Timescales

11.1 	Subject to any changes notified to potential suppliers by the British Council in accordance with the Tender Conditions, the following timescales shall apply to this Procurement Process:

| Activity | Date / time |
| --- | --- |
| RFP Issued to bidding suppliers | 15.03.2016 |
| Deadline for clarification questions (Clarification Deadline) | 21.03.2016 |
| British Council to respond to clarification questions | 24.03.2016 |
| Deadline for submission of RFP responses by potential suppliers (Response Deadline) | 31.03.2016 |
| Final Decision | To be finalised |
| Contract concluded with winning supplier | To be finalised |
| Contract start date | To be finalised |

12 	Instructions for Responding

12.1 The documents that must be submitted to form your tender response are listed in clause 12 (Submission Checklist) (Supplier Response) to this RFP. All documents required as part of your tender response should be submitted to Khurram Shakeel (Pakistan) Khurram.Shakeel@britishcouncil.org.pk and Muhammad Ali (Pakistan) Muhammad.Ali2@britishcouncil.org.pk  no later than 31/3/2016.

12.2 The following requirements should be complied with when summiting your response to this RFP:

- Please ensure that you send your submission in good time to prevent issues with technology – late tender responses may rejected by the British Council.

- Do not submit any additional supporting documentation with your RFP response except where specifically requested to do so as part of this RFP. PDF, JPG, PPT, Word and Excel formats can be used for any additional supporting documentation (other formats should not be used without the prior written approval of the British Council).

- All attachments/supporting documentation should be provided separately to your main tender response and clearly labelled to make it clear as to which part of your tender response it relates.

- If you submit a generic policy / document you must indicate the page and paragraph reference that is relevant to a particular part of your tender response.

- Unless otherwise stated as part of this RFP or its Annexes, all tender responses should be in the format of the relevant British Council requirement with your response to that requirement inserted underneath.

- Where supporting evidence is requested as ‘or equivalent’ you must demonstrate such equivalence as part of your tender response.

- Any deliberate alteration of a British Council requirement as part of your tender response will invalidate your tender response to that requirement and for evaluation purposes you shall be deemed not to have responded to that particular requirement.

- Responses should concise, unambiguous, and should directly address the requirement stated.

- Your tender responses to the tender requirements and pricing will be incorporated into the Contract, as appropriate.

13 	Clarification Requests

13.1 	All clarification and site survey please coordinate with Rahim.Artani@britishcouncil.org.pk & Fauzia.Salahuddin@britishcouncil.org.pk no later than 21/3/2016. The British Council is under no obligation to respond to clarification requests received after the Clarification Deadline.

13.2	Any clarification requests should clearly reference the appropriate paragraph in the RFP documentation and, to the extent possible, should be aggregated rather than sent individually.

13.3	The British Council reserves the right to issue any clarification request made by you, and the response, to all potential suppliers unless you expressly require it to be kept confidential at the time the request is made. If the British Council considers the contents of the request not to be confidential, it will inform you and you will have the opportunity to withdraw the clarification query prior to the British Council responding to all potential suppliers.

13.4	The British Council may at any time request further information from potential suppliers to verify or clarify any aspects of their tender response or other information they may have provided. Should you not provide supplementary information or clarifications to the British Council by any deadline notified to you, your tender response may be rejected in full and you may be disqualified from this Procurement Process.

| Criteria | Weighting |
| --- | --- |
| Agreed on BC contractual terms | 10% |
| Client References for providing similar services | 25% |
| Adherence to Requirements of RFP | 20% |
| Costing | 45% |

14.3	Scoring Model – Tender responses will be subject to an initial review at the start of Stage 3 of the evaluation process. Any tender responses not meeting mandatory requirements or constraints (if any) will be rejected in full at this point and will not be assessed or scored further.  Tender responses not so rejected will be scored by an evaluation panel appointed by the British Council for all criteria other than commercial using the following scoring model:

List of Annex forming part of this RFP (issued as separate documents):

Annex 1 - Terms and Conditions of Contract